## Overview
Information on the Tariff Movement Explanation (TME) Template
This workbook is intended to give further detail on the information published in the CDCM model, and to give an appreciation of which areas are the main drivers for year on year changes in tariffs.
The 'Detailed Breakdown' worksheet initially shows the impact of updating each CDCM input table in turn. In genral, the impact of the new residual bands introduced by the TCR is seen in the impact of the volume forecast. The PY has equal costs across the PY numbers.
The 'Summary' worksheet shows the tariffs for each customer group, the average p/kWh for both 2022/23 and 2023/24 and the variance between the two, and a forecast of the total annual charge for 2023/24, along with commentary detailing the main drivers for change.

## Detailed Breakdown
TME YoY Tariff Disturbance Analysis
Electricity North West Limited
CDCM charging model - Release for charge setting v1 - 2023/24
|  | Prior Year Adjusted* Model Values |  | Step 1:Cost of Capital and Days in Year |  | Step 2:Diversity |  | Step 3:Network Model |  | Step 4:Service Model |  | Step 5:LLFs |  | Step 6:Load factor |  | Step 7:Coincidence factor |  | Step 8:Trans Exit Charges |  | Step 9:Other Expenditure |  | Step 10:Customer Contributions |  | Step 11:Typical annual hours by distribution time band |  | Step 12:Peaking probabilities by network level |  | Step 13:Average kVAr by kVA, by network level |  | Step 14:Volume Forecast |  | Step 15:CDCM Target Revenue |  | Step 16:LDNO Discounts |  | Final
| Cumulative Gradient | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change
|  | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh
| Domestic Aggregated with Residual |  | 2.8406 | 0.03098% | 0.0008801 | 0.0447% | 0.0012699 | -0.01364% | -0.00038741 | 0.282% | 0.0080102 | 0.2605% | 0.0074006 | 0.5627% | 0.015985 | 4.311% | 0.12247 | 4.52% | 0.12841 | 7.197% | 0.20444 | 7.197% | 0.20444 | 7.16% | 0.20338 | 6.863% | 0.19495 | 6.863% | 0.19495 | 7.805% | 0.22171 | 31.29% | 0.88887 | 31.29% | 0.88887 | 31.29% | 0.88887
| Domestic Aggregated (Related MPAN) |  | 0.37256 | 0.5557% | 0.0020703 | 1.017% | 0.0037905 | 5.503% | 0.020502 | 4.983% | 0.018564 | 4.708% | 0.01754 | 6.033% | 0.022475 | 13.12% | 0.048894 | 13.57% | 0.050553 | 25.04% | 0.093282 | 25.04% | 0.093282 | 24.43% | 0.091016 | 12.17% | 0.045324 | 12.17% | 0.045324 | 12.32% | 0.045915 | 12.32% | 0.045915 | 12.32% | 0.045915 | 12.32% | 0.045915
| Non-Domestic Aggregated No Residual |  | 2.8931 | 0.4962% | 0.014356 | 0.6934% | 0.02006 | 2.12% | 0.061325 | 3.029% | 0.08763 | 2.989% | 0.086475 | 2.707% | 0.078327 | -0.625% | -0.018081 | 0.3483% | 0.010078 | 16.97% | 0.49087 | 16.97% | 0.49087 | 16.95% | 0.49036 | 17.72% | 0.51269 | 17.72% | 0.51269 | 18.59% | 0.53787 | 19.26% | 0.55731 | 19.28% | 0.55781 | 19.28% | 0.55781
| Non-Domestic Aggregated Band 1 |  | 3.6293 | 0.05488% | 0.0019918 | 0.07997% | 0.0029023 | -0.1699% | -0.0061655 | 0.4889% | 0.017743 | 0.5231% | 0.018985 | 0.1005% | 0.0036463 | -2.754% | -0.099953 | -2.639% | -0.095762 | 3.939% | 0.14296 | 3.939% | 0.14296 | 3.925% | 0.14244 | 4.408% | 0.15998 | 4.408% | 0.15998 | 5.381% | 0.19529 | 15.82% | 0.57432 | 15.84% | 0.57483 | 15.84% | 0.57483
| Non-Domestic Aggregated Band 2 |  | 2.8038 | 0.05279% | 0.00148 | 0.1684% | 0.0047228 | 0.7566% | 0.021214 | 0.6724% | 0.018854 | 0.6659% | 0.018671 | 0.2171% | 0.006086 | -3.362% | -0.094273 | -3.207% | -0.089919 | -3.344% | -0.093752 | -3.344% | -0.093752 | -3.396% | -0.095206 | -2.654% | -0.0744 | -2.636% | -0.073914 | -1.91% | -0.053554 | 11.05% | 0.3099 | 11.07% | 0.3104 | 11.07% | 0.3104
| Non-Domestic Aggregated Band 3 |  | 2.6784 | 0.06013% | 0.0016105 | 0.1796% | 0.0048094 | 0.9688% | 0.025947 | 0.7111% | 0.019045 | 0.7046% | 0.018871 | 0.2499% | 0.0066929 | -3.463% | -0.092765 | -3.32% | -0.08892 | -4.838% | -0.12958 | -4.838% | -0.12958 | -4.888% | -0.13092 | -4.095% | -0.10968 | -4.08% | -0.10929 | -3.415% | -0.091475 | 10.08% | 0.2701 | 10.1% | 0.2706 | 10.1% | 0.2706
| Non-Domestic Aggregated Band 4 |  | 2.6208 | 0.06042% | 0.0015836 | 0.1893% | 0.0049621 | 1.067% | 0.027967 | 0.7351% | 0.019264 | 0.7246% | 0.018991 | 0.2675% | 0.0070106 | -3.521% | -0.092286 | -3.369% | -0.088305 | -5.566% | -0.14588 | -5.566% | -0.14588 | -5.62% | -0.14728 | -4.803% | -0.12589 | -4.787% | -0.12545 | -4.155% | -0.10888 | 9.606% | 0.25175 | 9.627% | 0.25232 | 9.627% | 0.25232
| Non-Domestic Aggregated (Related MPAN) |  | 0.3549 | 0.4978% | 0.0017669 | 0.9192% | 0.0032623 | 5.316% | 0.018868 | 4.858% | 0.01724 | 4.837% | 0.017166 | 4.776% | 0.016948 | -0.3668% | -0.0013016 | -0.08937% | -0.00031717 | 10.22% | 0.036267 | 10.22% | 0.036267 | 9.345% | 0.033164 | -6.887% | -0.024441 | -6.887% | -0.024441 | -6.805% | -0.02415 | -6.805% | -0.02415 | -6.787% | -0.024089 | -6.787% | -0.024089
| LV Site Specific No Residual |  | 2.1882 | 0.5995% | 0.013118 | 0.956% | 0.02092 | 4.598% | 0.10061 | 4.287% | 0.093815 | 4.132% | 0.090421 | 4.503% | 0.098544 | -0.3232% | -0.0070732 | 0.7626% | 0.016687 | 12.69% | 0.27778 | 12.69% | 0.27778 | 12.62% | 0.27605 | 13.43% | 0.29397 | 13.38% | 0.29275 | 14.21% | 0.31092 | 14.23% | 0.31143 | 14.25% | 0.31182 | 14.25% | 0.31182
| LV Site Specific Band 1 |  | 3.1506 | 0.0008651% | 2.7255e-05 | 0.05757% | 0.0018137 | 0.3715% | 0.011703 | 0.1556% | 0.0049034 | 0.0857% | 0.0027002 | -0.008493% | -0.00026759 | -3.677% | -0.11585 | -3.927% | -0.12373 | -5.688% | -0.17921 | -5.688% | -0.17921 | -5.681% | -0.17899 | -5.349% | -0.16853 | -5.368% | -0.16912 | -4.311% | -0.13581 | 10.66% | 0.33584 | 10.67% | 0.33629 | 10.67% | 0.33629
| LV Site Specific Band 2 |  | 3.085 | -0.000975% | -3.0079e-05 | 0.06292% | 0.001941 | 0.4718% | 0.014554 | 0.1646% | 0.0050772 | 0.09001% | 0.0027767 | 0.006269% | 0.00019339 | -3.725% | -0.11491 | -3.98% | -0.12279 | -6.411% | -0.19778 | -6.411% | -0.19778 | -6.407% | -0.19767 | -6.056% | -0.18684 | -6.076% | -0.18745 | -5.046% | -0.15568 | 10.23% | 0.31572 | 10.25% | 0.31616 | 10.25% | 0.31616
| LV Site Specific Band 3 |  | 3.068 | -0.002478% | -7.6012e-05 | 0.06421% | 0.0019701 | 0.4979% | 0.015275 | 0.1663% | 0.0051034 | 0.09134% | 0.0028024 | 0.009957% | 0.00030549 | -3.739% | -0.1147 | -3.995% | -0.12257 | -6.604% | -0.20261 | -6.604% | -0.20261 | -6.601% | -0.20252 | -6.246% | -0.19162 | -6.265% | -0.19222 | -5.242% | -0.16083 | 10.12% | 0.31049 | 10.13% | 0.31094 | 10.13% | 0.31094
| LV Site Specific Band 4 |  | 3.0539 | -0.002896% | -8.8439e-05 | 0.06569% | 0.002006 | 0.5205% | 0.015897 | 0.1682% | 0.0051355 | 0.09247% | 0.0028239 | 0.0135% | 0.00041223 | -3.749% | -0.1145 | -4.007% | -0.12236 | -6.765% | -0.20659 | -6.765% | -0.20659 | -6.762% | -0.20651 | -6.403% | -0.19555 | -6.423% | -0.19615 | -5.406% | -0.16509 | 10.03% | 0.30616 | 10.04% | 0.3066 | 10.04% | 0.3066
| LV Sub Site Specific No Residual |  | 1.7733 | 0.7183% | 0.012739 | 0.9158% | 0.016241 | 4.276% | 0.075833 | 4.064% | 0.07206 | 4.067% | 0.072118 | 4.254% | 0.075431 | -0.5098% | -0.009041 | 0.7346% | 0.013026 | 13.53% | 0.23986 | 13.53% | 0.23986 | 13.47% | 0.23895 | 14.02% | 0.24856 | 13.95% | 0.24743 | 15% | 0.26593 | 15% | 0.26607 | 15% | 0.26607 | 15% | 0.26607
| LV Sub Site Specific Band 1 |  | 2.0727 | 0.419% | 0.0086851 | 0.4968% | 0.010296 | 2.324% | 0.048171 | 2.143% | 0.044417 | 2.164% | 0.044846 | 2.156% | 0.044689 | -2.068% | -0.042863 | -1.477% | -0.030622 | 4.714% | 0.097705 | 4.714% | 0.097705 | 4.698% | 0.097376 | 5.051% | 0.10469 | 5.006% | 0.10375 | 6.124% | 0.12694 | 13.2% | 0.2737 | 13.21% | 0.27372 | 13.21% | 0.27372
| LV Sub Site Specific Band 2 |  | 2.0069 | 0.4276% | 0.0085818 | 0.5193% | 0.010422 | 2.543% | 0.051032 | 2.219% | 0.044538 | 2.238% | 0.044921 | 2.25% | 0.045152 | -2.09% | -0.041949 | -1.481% | -0.029725 | 3.938% | 0.07904 | 3.938% | 0.07904 | 3.918% | 0.078627 | 4.298% | 0.086268 | 4.251% | 0.085323 | 5.332% | 0.107 | 12.64% | 0.25366 | 12.64% | 0.25368 | 12.64% | 0.25368
| LV Sub Site Specific Band 3 |  | 1.9899 | 0.4299% | 0.0085552 | 0.5253% | 0.010453 | 2.601% | 0.051762 | 2.24% | 0.044568 | 2.259% | 0.044942 | 2.275% | 0.04527 | -2.097% | -0.041721 | -1.482% | -0.02949 | 3.729% | 0.074199 | 3.729% | 0.074199 | 3.707% | 0.073762 | 4.095% | 0.081485 | 4.048% | 0.08055 | 5.117% | 0.10182 | 12.49% | 0.24846 | 12.49% | 0.24848 | 12.49% | 0.24848
| LV Sub Site Specific Band 4 |  | 1.9757 | 0.4319% | 0.0085324 | 0.5305% | 0.010481 | 2.651% | 0.052373 | 2.257% | 0.044597 | 2.275% | 0.044957 | 2.296% | 0.045371 | -2.102% | -0.041527 | -1.483% | -0.029297 | 3.552% | 0.070186 | 3.552% | 0.070186 | 3.529% | 0.069728 | 3.924% | 0.077523 | 3.876% | 0.076585 | 4.937% | 0.097537 | 12.36% | 0.24415 | 12.36% | 0.24417 | 12.36% | 0.24417
| HV Site Specific No Residual |  | 1.1865 | 0.5845% | 0.0069353 | 0.6441% | 0.007642 | 3.801% | 0.0451 | 3.488% | 0.041389 | 3.485% | 0.041349 | 3.332% | 0.039537 | 0.6469% | 0.0076753 | 2.19% | 0.025985 | 15.91% | 0.18872 | 15.91% | 0.18872 | 15.83% | 0.18781 | 16.01% | 0.18994 | 15.93% | 0.18895 | 17.09% | 0.20279 | 17.1% | 0.20284 | 17.1% | 0.20285 | 17.1% | 0.20285
| HV Site Specific Band 1 |  | 1.9182 | -0.1562% | -0.0029971 | -0.3585% | -0.006877 | -1.172% | -0.022479 | -1.365% | -0.026174 | -1.321% | -0.025347 | -1.855% | -0.035586 | -3.909% | -0.074977 | -4.208% | -0.080714 | -8.274% | -0.15871 | -8.274% | -0.15871 | -8.245% | -0.15816 | -8.427% | -0.16165 | -8.454% | -0.16217 | -7.135% | -0.13685 | 11.55% | 0.22145 | 11.55% | 0.22151 | 11.55% | 0.22151
| HV Site Specific Band 2 |  | 1.8539 | -0.1668% | -0.0030927 | -0.3644% | -0.0067566 | -1.063% | -0.019702 | -1.405% | -0.026049 | -1.363% | -0.025266 | -1.895% | -0.035134 | -3.997% | -0.074098 | -4.306% | -0.079832 | -9.544% | -0.17693 | -9.544% | -0.17693 | -9.519% | -0.17647 | -9.69% | -0.17964 | -9.718% | -0.18017 | -8.433% | -0.15634 | 10.89% | 0.20193 | 10.89% | 0.20199 | 10.89% | 0.20199
| HV Site Specific Band 3 |  | 1.8391 | -0.1695% | -0.0031172 | -0.3659% | -0.0067303 | -1.036% | -0.019062 | -1.415% | -0.026022 | -1.373% | -0.025249 | -1.905% | -0.035032 | -4.018% | -0.073896 | -4.33% | -0.079631 | -9.849% | -0.18114 | -9.849% | -0.18114 | -9.825% | -0.18069 | -9.993% | -0.18379 | -10.02% | -0.18431 | -8.745% | -0.16083 | 10.74% | 0.19743 | 10.74% | 0.19748 | 10.74% | 0.19748
| HV Site Specific Band 4 |  | 1.8314 | -0.1709% | -0.0031295 | -0.3667% | -0.0067162 | -1.023% | -0.01873 | -1.42% | -0.026008 | -1.378% | -0.02524 | -1.91% | -0.034978 | -4.029% | -0.073791 | -4.342% | -0.079526 | -10.01% | -0.18333 | -10.01% | -0.18333 | -9.986% | -0.18289 | -10.15% | -0.18596 | -10.18% | -0.18648 | -8.91% | -0.16317 | 10.65% | 0.19509 | 10.66% | 0.19514 | 10.66% | 0.19514
| Unmetered Supplies |  | 3.8101 | -0.03656% | -0.001393 | -0.2422% | -0.0092279 | -3.027% | -0.11533 | -0.8017% | -0.030547 | -0.7655% | -0.029167 | -0.3465% | -0.013204 | 1.481% | 0.056439 | 1.369% | 0.05215 | 14.75% | 0.56182 | 14.75% | 0.56182 | 14.97% | 0.57028 | 14.93% | 0.56889 | 14.96% | 0.56984 | 15.64% | 0.59587 | 25.06% | 0.95467 | 25.06% | 0.95487 | 25.06% | 0.95487
| LV Generation Aggregated |  | -1.0936 | 0.8705% | -0.0095198 | 1.351% | -0.01478 | 5.535% | -0.060533 | 4.99% | -0.054567 | 4.917% | -0.05377 | 4.643% | -0.050782 | 4.416% | -0.0483 | 5.951% | -0.065084 | 15.92% | -0.17414 | 15.92% | -0.17414 | 16.2% | -0.17718 | 17.1% | -0.18706 | 17.1% | -0.18706 | 17.36% | -0.18991 | 17.36% | -0.18991 | 17.36% | -0.18991 | 17.36% | -0.18991
LV Sub Generation Aggregated
| LV Generation Site Specific |  | -1.0816 | 0.8713% | -0.0094241 | 1.358% | -0.014684 | 5.535% | -0.059863 | 4.992% | -0.053993 | 4.918% | -0.053196 | 4.651% | -0.050304 | 4.421% | -0.047821 | 5.956% | -0.064414 | 15.92% | -0.17222 | 15.92% | -0.17222 | 16.2% | -0.17526 | 17.12% | -0.18514 | 17.2% | -0.18601 | 17.46% | -0.1888 | 17.46% | -0.1888 | 17.46% | -0.1888 | 17.46% | -0.1888
| LV Sub Generation Site Specific |  | -0.89309 | 0.9092% | -0.0081202 | 1.352% | -0.012079 | 5.51% | -0.049206 | 5.003% | -0.044683 | 4.993% | -0.044594 | 4.747% | -0.042394 | 4.472% | -0.039936 | 6.262% | -0.055926 | 15.82% | -0.14125 | 15.82% | -0.14125 | 16.07% | -0.14352 | 17.99% | -0.16066 | 18.17% | -0.1623 | 18.45% | -0.16473 | 18.45% | -0.16473 | 18.45% | -0.16473 | 18.45% | -0.16473
| HV Generation Site Specific |  | -0.84671 | 0.8558% | -0.0072458 | 1.327% | -0.011236 | 5.276% | -0.044672 | 4.725% | -0.04001 | 4.71% | -0.039879 | 4.433% | -0.037535 | 4.182% | -0.03541 | 6.99% | -0.059183 | 16.31% | -0.13812 | 16.31% | -0.13812 | 16.63% | -0.14082 | 16.86% | -0.14273 | 16.87% | -0.14286 | 17.19% | -0.14555 | 17.19% | -0.14555 | 17.19% | -0.14555 | 17.19% | -0.14555
|  | Prior Year Adjusted* Model Values |  | Step 1:Cost of Capital and Days in Year |  | Step 2:Diversity |  | Step 3:Network Model |  | Step 4:Service Model |  | Step 5:LLFs |  | Step 6:Load factor |  | Step 7:Coincidence factor |  | Step 8:Trans Exit Charges |  | Step 9:Other Expenditure |  | Step 10:Customer Contributions |  | Step 11:Typical annual hours by distribution time band |  | Step 12:Peaking probabilities by network level |  | Step 13:Average kVAr by kVA, by network level |  | Step 14:Volume Forecast |  | Step 15:CDCM Target Revenue |  | Step 16:LDNO Discounts |  | Final
| Step Gradient | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change | Change | Absolute change
|  | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh | % | p/kWh
| Domestic Aggregated with Residual |  |  | 0.03098% | 0.0008801 | 0.01372% | 0.00038978 | -0.05834% | -0.0016573 | 0.2956% | 0.0083976 | -0.02146% | -0.00060953 | 0.3022% | 0.0085843 | 3.749% | 0.10649 | 0.2089% | 0.0059342 | 2.677% | 0.076034 | 0% | 0 | -0.03747% | -0.0010643 | -0.2965% | -0.0084218 | 0% | 0 | 0.942% | 0.02676 | 23.49% | 0.66716 | 0% | 0 | 0% | 0
| Domestic Aggregated (Related MPAN) |  |  | 0.5557% | 0.0020703 | 0.4617% | 0.0017202 | 4.486% | 0.016711 | -0.5201% | -0.0019376 | -0.2749% | -0.0010241 | 1.325% | 0.0049353 | 7.091% | 0.026418 | 0.4455% | 0.0016596 | 11.47% | 0.042728 | 0% | 0 | -0.6082% | -0.0022658 | -12.26% | -0.045692 | 0% | 0 | 0.1588% | 0.00059149 | 0% | 0 | 0% | 0 | 0% | 0
| Non-Domestic Aggregated No Residual |  |  | 0.4962% | 0.014356 | 0.1972% | 0.0057041 | 1.426% | 0.041265 | 0.9092% | 0.026305 | -0.03991% | -0.0011546 | -0.2816% | -0.0081483 | -3.332% | -0.096408 | 0.9733% | 0.028159 | 16.62% | 0.4808 | 0% | 0 | -0.01777% | -0.00051421 | 0.7717% | 0.022327 | 0% | 0 | 0.8704% | 0.025181 | 0.6719% | 0.019438 | 0.0173% | 0.00050053 | 0% | 0
| Non-Domestic Aggregated Band 1 |  |  | 0.05488% | 0.0019918 | 0.02509% | 0.00091048 | -0.2499% | -0.0090678 | 0.6588% | 0.023908 | 0.03423% | 0.0012422 | -0.4226% | -0.015339 | -2.855% | -0.1036 | 0.1155% | 0.0041909 | 6.578% | 0.23872 | 0% | 0 | -0.01417% | -0.00051421 | 0.4831% | 0.017534 | 0% | 0 | 0.9729% | 0.035309 | 10.44% | 0.37904 | 0.01379% | 0.00050053 | 0% | 0
| Non-Domestic Aggregated Band 2 |  |  | 0.05279% | 0.00148 | 0.1157% | 0.0032428 | 0.5882% | 0.016491 | -0.08417% | -0.0023599 | -0.006525% | -0.00018294 | -0.4489% | -0.012585 | -3.579% | -0.10036 | 0.1553% | 0.0043542 | -0.1367% | -0.0038328 | 0% | 0 | -0.05184% | -0.0014536 | 0.742% | 0.020805 | 0.01733% | 0.00048581 | 0.7262% | 0.020361 | 12.96% | 0.36345 | 0.01785% | 0.00050053 | 0% | 0
| Non-Domestic Aggregated Band 3 |  |  | 0.06013% | 0.0016105 | 0.1194% | 0.0031989 | 0.7892% | 0.021138 | -0.2577% | -0.0069019 | -0.006502% | -0.00017416 | -0.4547% | -0.012178 | -3.713% | -0.099458 | 0.1435% | 0.0038448 | -1.518% | -0.04066 | 0% | 0 | -0.05012% | -0.0013424 | 0.7929% | 0.021238 | 0.01464% | 0.00039216 | 0.6652% | 0.017817 | 13.5% | 0.36157 | 0.01869% | 0.00050053 | 0% | 0
| Non-Domestic Aggregated Band 4 |  |  | 0.06042% | 0.0015836 | 0.1289% | 0.0033786 | 0.8778% | 0.023005 | -0.3321% | -0.0087025 | -0.01042% | -0.00027306 | -0.4571% | -0.011981 | -3.789% | -0.099297 | 0.1519% | 0.0039806 | -2.197% | -0.057573 | 0% | 0 | -0.05341% | -0.0013999 | 0.8162% | 0.021391 | 0.01682% | 0.00044075 | 0.632% | 0.016564 | 13.76% | 0.36064 | 0.02153% | 0.00056436 | 0% | 0
| Non-Domestic Aggregated (Related MPAN) |  |  | 0.4978% | 0.0017669 | 0.4214% | 0.0014954 | 4.397% | 0.015605 | -0.4588% | -0.0016282 | -0.02066% | -7.3334e-05 | -0.06143% | -0.00021801 | -5.142% | -0.01825 | 0.2774% | 0.00098443 | 10.31% | 0.036584 | 0% | 0 | -0.8743% | -0.0031029 | -16.23% | -0.057605 | 0% | 0 | 0.08209% | 0.00029135 | 0% | 0 | 0.0173% | 6.1392e-05 | 0% | 0
| LV Site Specific No Residual |  |  | 0.5995% | 0.013118 | 0.3565% | 0.0078019 | 3.642% | 0.079694 | -0.3107% | -0.0067998 | -0.1551% | -0.0033938 | 0.3712% | 0.0081232 | -4.827% | -0.10562 | 1.086% | 0.023761 | 11.93% | 0.26109 | 0% | 0 | -0.07882% | -0.0017247 | 0.8188% | 0.017918 | -0.05573% | -0.0012196 | 0.8304% | 0.01817 | 0.02322% | 0.00050818 | 0.01774% | 0.00038821 | 0% | 0
| LV Site Specific Band 1 |  |  | 0.0008651% | 2.7255e-05 | 0.0567% | 0.0017864 | 0.3139% | 0.0098895 | -0.2158% | -0.0067998 | -0.06993% | -0.0022032 | -0.0942% | -0.0029678 | -3.668% | -0.11558 | -0.2502% | -0.0078832 | -1.761% | -0.055475 | 0% | 0 | 0.006912% | 0.00021776 | 0.332% | 0.010461 | -0.01882% | -0.00059297 | 1.057% | 0.033305 | 14.97% | 0.47165 | 0.01434% | 0.00045173 | 0% | 0
| LV Site Specific Band 2 |  |  | -0.000975% | -3.0079e-05 | 0.06389% | 0.001971 | 0.4089% | 0.012613 | -0.3072% | -0.009477 | -0.07457% | -0.0023005 | -0.08374% | -0.0025833 | -3.731% | -0.11511 | -0.2553% | -0.0078767 | -2.431% | -0.07499 | 0% | 0 | 0.003566% | 0.00011 | 0.3511% | 0.010831 | -0.01998% | -0.00061648 | 1.03% | 0.031779 | 15.28% | 0.4714 | 0.01424% | 0.00043916 | 0% | 0
| LV Site Specific Band 3 |  |  | -0.002478% | -7.6012e-05 | 0.06669% | 0.0020461 | 0.4337% | 0.013305 | -0.3315% | -0.010171 | -0.075% | -0.0023009 | -0.08139% | -0.002497 | -3.749% | -0.115 | -0.2565% | -0.007869 | -2.609% | -0.080041 | 0% | 0 | 0.002972% | 9.1173e-05 | 0.3553% | 0.010901 | -0.01966% | -0.00060332 | 1.023% | 0.031394 | 15.36% | 0.47131 | 0.01469% | 0.00045068 | 0% | 0
| LV Site Specific Band 4 |  |  | -0.002896% | -8.8439e-05 | 0.06858% | 0.0020945 | 0.4549% | 0.013891 | -0.3524% | -0.010761 | -0.0757% | -0.0023117 | -0.07897% | -0.0024116 | -3.763% | -0.11491 | -0.2576% | -0.0078672 | -2.758% | -0.084232 | 0% | 0 | 0.002617% | 7.9906e-05 | 0.359% | 0.010964 | -0.01951% | -0.00059583 | 1.017% | 0.031054 | 15.43% | 0.47126 | 0.01442% | 0.00044028 | 0% | 0
| LV Sub Site Specific No Residual |  |  | 0.7183% | 0.012739 | 0.1975% | 0.0035024 | 3.36% | 0.059592 | -0.2128% | -0.0037731 | 0.003298% | 5.8485e-05 | 0.1868% | 0.0033129 | -4.763% | -0.084472 | 1.244% | 0.022067 | 12.79% | 0.22683 | 0% | 0 | -0.05153% | -0.00091373 | 0.5421% | 0.0096124 | -0.06383% | -0.001132 | 1.043% | 0.018504 | 0.007801% | 0.00013834 | 0% | 0 | 0% | 0
| LV Sub Site Specific Band 1 |  |  | 0.419% | 0.0086851 | 0.07774% | 0.0016114 | 1.827% | 0.037875 | -0.1811% | -0.0037536 | 0.02069% | 0.00042889 | -0.007587% | -0.00015726 | -4.224% | -0.087552 | 0.5906% | 0.012242 | 6.191% | 0.12833 | 0% | 0 | -0.01587% | -0.00032888 | 0.3528% | 0.007312 | -0.04521% | -0.00093704 | 1.119% | 0.023193 | 7.08% | 0.14676 | 0.0009535% | 1.9763e-05 | 0% | 0
| LV Sub Site Specific Band 2 |  |  | 0.4276% | 0.0085818 | 0.09169% | 0.0018401 | 2.023% | 0.04061 | -0.3236% | -0.0064938 | 0.01909% | 0.00038309 | 0.01151% | 0.00023093 | -4.34% | -0.087101 | 0.6091% | 0.012224 | 5.419% | 0.10876 | 0% | 0 | -0.02058% | -0.00041297 | 0.3807% | 0.0076409 | -0.04705% | -0.00094436 | 1.08% | 0.021679 | 7.307% | 0.14665 | 0.001185% | 2.3776e-05 | 0% | 0
| LV Sub Site Specific Band 3 |  |  | 0.4299% | 0.0085552 | 0.09538% | 0.001898 | 2.076% | 0.041309 | -0.3615% | -0.0071938 | 0.01879% | 0.00037387 | 0.01645% | 0.00032737 | -4.372% | -0.086991 | 0.6147% | 0.012232 | 5.211% | 0.10369 | 0% | 0 | -0.02196% | -0.00043698 | 0.3881% | 0.0077233 | -0.04701% | -0.00093547 | 1.069% | 0.021275 | 7.369% | 0.14664 | 0.0007326% | 1.4577e-05 | 0% | 0
| LV Sub Site Specific Band 4 |  |  | 0.4319% | 0.0085324 | 0.0986% | 0.0019482 | 2.12% | 0.041893 | -0.3936% | -0.0077766 | 0.01826% | 0.00036072 | 0.02095% | 0.00041393 | -4.398% | -0.086898 | 0.619% | 0.01223 | 5.035% | 0.099483 | 0% | 0 | -0.02317% | -0.00045783 | 0.3946% | 0.0077953 | -0.04747% | -0.00093793 | 1.06% | 0.020952 | 7.421% | 0.14661 | 0.0009371% | 1.8515e-05 | 0% | 0
| HV Site Specific No Residual |  |  | 0.5845% | 0.0069353 | 0.05956% | 0.00070665 | 3.157% | 0.037458 | -0.3127% | -0.0037105 | -0.003354% | -3.9799e-05 | -0.1528% | -0.0018127 | -2.685% | -0.031861 | 1.543% | 0.018309 | 13.72% | 0.16273 | 0% | 0 | -0.07638% | -0.00090629 | 0.1793% | 0.0021272 | -0.08374% | -0.00099359 | 1.167% | 0.013841 | 0.004468% | 5.3008e-05 | 0.0006382% | 7.5726e-06 | 0% | 0
| HV Site Specific Band 1 |  |  | -0.1562% | -0.0029971 | -0.2023% | -0.0038799 | -0.8134% | -0.015602 | -0.1927% | -0.0036956 | 0.0431% | 0.00082672 | -0.5338% | -0.010239 | -2.054% | -0.039391 | -0.2991% | -0.0057365 | -4.066% | -0.077993 | 0% | 0 | 0.02869% | 0.00055036 | -0.182% | -0.0034902 | -0.02726% | -0.00052298 | 1.32% | 0.025317 | 18.68% | 0.35831 | 0.002763% | 5.3008e-05 | 0% | 0
| HV Site Specific Band 2 |  |  | -0.1668% | -0.0030927 | -0.1976% | -0.0036639 | -0.6983% | -0.012946 | -0.3423% | -0.0063468 | 0.04221% | 0.00078257 | -0.5323% | -0.0098677 | -2.102% | -0.038964 | -0.3093% | -0.0057343 | -5.238% | -0.097101 | 0% | 0 | 0.02504% | 0.00046421 | -0.1712% | -0.0031738 | -0.0282% | -0.00052281 | 1.285% | 0.023826 | 19.32% | 0.35827 | 0.002874% | 5.3284e-05 | 0% | 0
| HV Site Specific Band 3 |  |  | -0.1695% | -0.0031172 | -0.1965% | -0.0036131 | -0.6705% | -0.012332 | -0.3784% | -0.0069595 | 0.04201% | 0.00077259 | -0.5319% | -0.0097828 | -2.113% | -0.038864 | -0.3118% | -0.0057348 | -5.519% | -0.10151 | 0% | 0 | 0.02425% | 0.00044595 | -0.1687% | -0.0031025 | -0.02836% | -0.00052154 | 1.277% | 0.023484 | 19.48% | 0.35826 | 0.002764% | 5.0838e-05 | 0% | 0
| HV Site Specific Band 4 |  |  | -0.1709% | -0.0031295 | -0.1958% | -0.0035867 | -0.656% | -0.012013 | -0.3974% | -0.0072785 | 0.04191% | 0.00076763 | -0.5317% | -0.0097374 | -2.119% | -0.038813 | -0.3131% | -0.0057349 | -5.668% | -0.1038 | 0% | 0 | 0.02381% | 0.00043602 | -0.1673% | -0.0030644 | -0.0285% | -0.00052189 | 1.273% | 0.023306 | 19.56% | 0.35826 | 0.002795% | 5.1182e-05 | 0% | 0
| Unmetered Supplies |  |  | -0.03656% | -0.001393 | -0.2056% | -0.0078349 | -2.785% | -0.1061 | 2.225% | 0.08478 | 0.03621% | 0.0013797 | 0.419% | 0.015964 | 1.828% | 0.069643 | -0.1126% | -0.0042897 | 13.38% | 0.50967 | 0% | 0 | 0.2222% | 0.0084644 | -0.03659% | -0.0013943 | 0.02502% | 0.00095342 | 0.6831% | 0.026025 | 9.417% | 0.3588 | 0.00528% | 0.00020116 | 0% | 0
| LV Generation Aggregated |  |  | 0.8705% | -0.0095198 | 0.481% | -0.0052599 | 4.184% | -0.045753 | -0.5455% | 0.0059653 | -0.07288% | 0.00079701 | -0.2732% | 0.0029881 | -0.227% | 0.0024826 | 1.535% | -0.016785 | 9.971% | -0.10905 | 0% | 0 | 0.278% | -0.0030402 | 0.9036% | -0.0098817 | 0% | 0 | 0.2605% | -0.0028491 | 0% | 0 | 0% | 0 | 0% | 0
LV Sub Generation Aggregated
| LV Generation Site Specific |  |  | 0.8713% | -0.0094241 | 0.4863% | -0.0052599 | 4.177% | -0.045179 | -0.5427% | 0.0058696 | -0.07369% | 0.00079701 | -0.2674% | 0.0028924 | -0.2295% | 0.0024826 | 1.534% | -0.016593 | 9.968% | -0.10781 | 0% | 0 | 0.2811% | -0.0030402 | 0.9136% | -0.0098817 | 0.07962% | -0.00086114 | 0.2586% | -0.0027967 | 0% | 0 | 0% | 0 | 0% | 0
| LV Sub Generation Site Specific |  |  | 0.9092% | -0.0081202 | 0.4432% | -0.0039585 | 4.157% | -0.037127 | -0.5064% | 0.004523 | -0.009996% | 8.9276e-05 | -0.2464% | 0.0022003 | -0.2751% | 0.0024573 | 1.79% | -0.01599 | 9.554% | -0.085322 | 0% | 0 | 0.2544% | -0.0022716 | 1.92% | -0.017144 | 0.1829% | -0.0016337 | 0.2729% | -0.002437 | 0% | 0 | 0% | 0 | 0% | 0
| HV Generation Site Specific |  |  | 0.8558% | -0.0072458 | 0.4713% | -0.0039907 | 3.949% | -0.033436 | -0.5506% | 0.0046621 | -0.01544% | 0.00013073 | -0.2769% | 0.0023443 | -0.251% | 0.002125 | 2.808% | -0.023773 | 9.323% | -0.078936 | 0% | 0 | 0.3188% | -0.0026997 | 0.2263% | -0.0019158 | 0.01537% | -0.00013012 | 0.3176% | -0.0026887 | 0% | 0 | 0% | 0 | 0% | 0
* The implementation of the TCR has changed the tariff structure. PY Values translated into current year charging model using prior year inputs where possible.

## Summary
DNO : Electricity North West
ENWL's CDCM CHARGES - Effective from April 2022 - ACTUALS LV/HV Charges | [10 empty] | Commentary
| Open LLFCs | PCs | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh | Closed LLFCs | average p/kWh this year | average p/kWh last year | Percentage change % | Average Bill | Main drivers for change
Domestic Aggregated with Residual | 011, 031, 041, 051, 061, 441, 451, 511, 531, 821, 851 | 0, 1, 2 | 10.266 | 2.136 | 0.19 | 14.89 |  |  |  |  | 3.7295 | 2.8406 | 31.29% | 119.4858 | Gone up mainly due to Step 7:Coincidence factor,Step 9:Other Expenditure,Step 15:CDCM Target Revenue, no factors contributing to greater than 2% downward change.
Domestic Aggregated (Related MPAN) | 081, 581 | 2 | 10.266 | 2.136 | 0.19 | [5 empty] | 0.41847 | 0.37256 | 12.32% | 10.8541 | Gone up mainly due to Step 3:Network Model,Step 7:Coincidence factor,Step 9:Other Expenditure, gone down mainly due to Step 12:Peaking probabilities by network level,
Non-Domestic Aggregated No Residual | 314,364 | 0, 3, 4, 5-8 | 10.43 | 2.17 | 0.193 | 5.63 |  |  |  |  | 3.4509 | 2.8931 | 19.28% | 51.9819 | Gone up mainly due to Step 9:Other Expenditure, gone down mainly due to Step 7:Coincidence factor,
Non-Domestic Aggregated Band 1 | 131, 161, 171, 191, 241, 242, 431, 432, 481, 482, 751, 752, 631, 661, 831, 861 | 0, 3, 4, 5-8 | 10.43 | 2.17 | 0.193 | 8.73 |  |  |  |  | 4.2041 | 3.6293 | 15.84% | 63.3279 | Gone up mainly due to Step 9:Other Expenditure,Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,
Non-Domestic Aggregated Band 2 | 4,34,32,33,144,154,164,174,184,182,183,194,374 | 0, 3, 4, 5-8 | 10.43 | 2.17 | 0.193 | 20.94 |  |  |  |  | 3.1142 | 2.8038 | 11.07% | 231.4384 | Gone up mainly due to Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,
Non-Domestic Aggregated Band 3 | 14,44,42,43,204,214,224,234,344,342,343,264,414 | 0, 3, 4, 5-8 | 10.43 | 2.17 | 0.193 | 43.57 |  |  |  |  | 2.949 | 2.6784 | 10.1% | 542.9921 | Gone up mainly due to Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,
Non-Domestic Aggregated Band 4 | 24,54,52,53,274,284,294,304,354,352,353,324,424 | 0, 3, 4, 5-8 | 10.43 | 2.17 | 0.193 | 123.8 |  |  |  |  | 2.8731 | 2.6208 | 9.627% | 1647.4689 | Gone up mainly due to Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,Step 9:Other Expenditure,
Non-Domestic Aggregated (related MPAN) | 091, 591 | 4 | 10.43 | 2.17 | 0.193 | [5 empty] | 0.33081 | 0.3549 | -6.787% | 17.3286 | Gone up mainly due to Step 3:Network Model,Step 9:Other Expenditure, gone down mainly due to Step 7:Coincidence factor,Step 12:Peaking probabilities by network level,
LV Site Specific No Residual | 461, 471,64,104 | 0 | 7.456 | 1.432 | 0.131 | 22.55 | 3.71 | 5.46 | 0.149 |  | 2.5 |  | 0% | 1440.472 | Gone up mainly due to Step 3:Network Model,Step 9:Other Expenditure, gone down mainly due to Step 7:Coincidence factor,
LV Site Specific Band 1 | 801, 841 | 0 | 7.456 | 1.432 | 0.131 | 177.91 | 3.71 | 5.46 | 0.149 |  | 3.4869 | 3.1506 | 10.67% | 2009.0896 | Gone up mainly due to Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,
LV Site Specific Band 2 | 74114 | 0 | 7.456 | 1.432 | 0.131 | 409.96 | 3.71 | 5.46 | 0.149 |  | 3.4011 | 3.085 | 10.25% | 4886.5883 | Gone up mainly due to Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,Step 9:Other Expenditure,
LV Site Specific Band 3 | 84124 | 0 | 7.456 | 1.432 | 0.131 | 654.44 | 3.71 | 5.46 | 0.149 |  | 3.3789 | 3.068 | 10.13% | 7918.2228 | Gone up mainly due to Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,Step 9:Other Expenditure,
LV Site Specific Band 4 | 94134 | 0 | 7.456 | 1.432 | 0.131 | 1349.19 | 3.71 | 5.46 | 0.149 |  | 3.3605 | 3.0539 | 10.04% | 16533.4474 | Gone up mainly due to Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,Step 9:Other Expenditure,
LV Sub Site Specific No Residual | 462, 472,62,102 | 0 | 5.993 | 1.052 | 0.099 | 72.52 | 3.83 | 6.3 | 0.107 |  | 2.0394 | 1.7733 | 15% | 3776.8996 | Gone up mainly due to Step 3:Network Model,Step 9:Other Expenditure, gone down mainly due to Step 7:Coincidence factor,
LV Sub Site Specific Band 1 | 802, 842 | 0 | 5.993 | 1.052 | 0.099 | 227.89 | 3.83 | 6.3 | 0.107 |  | 2.3465 | 2.0727 | 13.21% | 4345.5538 | Gone up mainly due to Step 9:Other Expenditure,Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,
LV Sub Site Specific Band 2 | 72112 | 0 | 5.993 | 1.052 | 0.099 | 459.94 | 3.83 | 6.3 | 0.107 |  | 2.2606 | 2.0069 | 12.64% | 10439.5414 | Gone up mainly due to Step 3:Network Model,Step 9:Other Expenditure,Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,
LV Sub Site Specific Band 3 | 82122 | 0 | 5.993 | 1.052 | 0.099 | 704.41 | 3.83 | 6.3 | 0.107 |  | 2.2384 | 1.9899 | 12.49% | 16859.9221 | Gone up mainly due to Step 3:Network Model,Step 9:Other Expenditure,Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,
LV Sub Site Specific Band 4 | 92132 | 0 | 5.993 | 1.052 | 0.099 | 1399.17 | 3.83 | 6.3 | 0.107 |  | 2.2199 | 1.9757 | 12.36% | 35105.3849 | Gone up mainly due to Step 3:Network Model,Step 9:Other Expenditure,Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,
HV Site Specific No Residual | 463, 473,63,103 | 0 | 4.248 | 0.632 | 0.063 | 159.34 | 3.76 | 6.53 | 0.064 |  | 1.3893 | 1.1865 | 17.1% | 6714.8871 | Gone up mainly due to Step 3:Network Model,Step 9:Other Expenditure, gone down mainly due to Step 7:Coincidence factor,
HV Site Specific Band 1 | 803, 843 | 0 | 4.248 | 0.632 | 0.063 | 1150.21 | 3.76 | 6.53 | 0.064 |  | 2.1397 | 1.9182 | 11.55% | 10341.4713 | Gone up mainly due to Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,Step 9:Other Expenditure,
HV Site Specific Band 2 | 73113 | 0 | 4.248 | 0.632 | 0.063 | 3398.23 | 3.76 | 6.53 | 0.064 |  | 2.0559 | 1.8539 | 10.89% | 32480.2534 | Gone up mainly due to Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,Step 9:Other Expenditure,
HV Site Specific Band 3 | 83123 | 0 | 4.248 | 0.632 | 0.063 | 6948.84 | 3.76 | 6.53 | 0.064 |  | 2.0366 | 1.8391 | 10.74% | 67447.2083 | Gone up mainly due to Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,Step 9:Other Expenditure,
HV Site Specific Band 4 | 93133 | 0 | 4.248 | 0.632 | 0.063 | 15992.62 | 3.76 | 6.53 | 0.064 |  | 2.0266 | 1.8314 | 10.66% | 156511.6412 | Gone up mainly due to Step 15:CDCM Target Revenue, gone down mainly due to Step 7:Coincidence factor,Step 9:Other Expenditure,
Unmetered Supplies | 761, 771, 781, 791, 811 | 0, 1 or 8 | 23.217 | 4.926 | 3.658 | [5 empty] | 4.765 | 3.8101 | 25.06% | 14965.3148 | Gone up mainly due to Step 4:Service Model,Step 9:Other Expenditure,Step 15:CDCM Target Revenue, gone down mainly due to Step 3:Network Model,
LV Generation Aggregated | 901, 961 | 0 | -7.433 | -1.546 | -0.138 | 0 |  |  |  |  | -1.2835 | -1.0936 | 17.36% | -57.1108 | Gone up mainly due to Step 3:Network Model,Step 9:Other Expenditure, no factors contributing to greater than 2% downward change.
LV Sub Generation Aggregated | 962 | 0 | -6.187 | -1.209 | -0.11 | 0 |  |  |  |  | 0 | 0 | 0% | 0 | No customers on this tariff at present
LV Generation Site Specific | 971, 981 | 0 | -7.433 | -1.546 | -0.138 | 0 |  |  | 0.137 |  | -1.2704 | -1.0816 | 17.46% | -1503.9107 | Gone up mainly due to Step 3:Network Model,Step 9:Other Expenditure, no factors contributing to greater than 2% downward change.
LV Sub Generation Site Specific | 972, 982 | 0 | -6.187 | -1.209 | -0.11 | 0 |  |  | 0.115 |  | -1.0578 | -0.89309 | 18.45% | -1010.5063 | Gone up mainly due to Step 3:Network Model,Step 9:Other Expenditure, no factors contributing to greater than 2% downward change.
HV Generation Site Specific | 973, 983 | 0 | -4.726 | -0.8 | -0.076 | 10.72 |  |  | 0.084 |  | -0.99227 | -0.84671 | 17.19% | -33340.6229 | Gone up mainly due to Step 3:Network Model,Step 8:Trans Exit Charges,Step 9:Other Expenditure, no factors contributing to greater than 2% downward change.