## Front Page
C31E Procurement and Use of Distribution Flexibility Services Annual Report - Supporting Data
Deadline | On or before 1 May following regulatory year of report
Submission location | Flexibility@ofgem.gov.uk
For further info contact | Euan.Dickson@ofgem.gov.uk
Reporting Year | 2023-2024
ED Licensee or Group | Electricity North West Limited
Contact Name | Keith Evans
Contact Email | Flexible.contracts@enwl.co.uk
Procurement and Use Summary | This tab is summarise by product the flexibility procurement and use primary data provided in the Procurement tab, and the Dispatch tab.
Tender Rounds Summary Tab | This tab is to populate with your summary of tenders within the previous delivery year (aggregated)
Procurement Tab | This tab is to populate with your procurement activity / bid outcomes within the previous delivery year
Procurement - Locational Tab | This tab is to populate with your procurement activity within the previous reporting year per constraint management zone. Procurement at low voltages is grouped per Licence Area.
Dispatch Tab | This tab is to populate with your dispatch events within the previous delivery year
Note: this template has been issued as a single Excel Workbook.
We appreciate that data volumes will likely require individual submission of worksheets for ease of completion and use.

## Data Dictionary
Tab | Item | Data type | Description
ProcurementandUseSummaryTotal | Total Peak Contracted in Prior Reporting Years (MW) | Decimal | Total peak capacity contracted across all constraint management zones and licence areas in prior reporting year(s), for delivery in the respective delivery year.
ProcurementandUseSummaryTotal | Total Peak Tendered in Reporting Year (MW) | Decimal | Total peak flexibility service tendered for in the reporting year, across all constraint management zones and licence areas, across all tenders within the rreporting year for delivery in the respective delivery year.
ProcurementandUseSummaryTotal | Total Peak Contracted in Reporting Year (MW) | Decimal | Total peak flexibility service contracted in the reporting year, across all constraint management zones and licence areas, across all tenders within the reporting year for delivery in the respective delivery year.
ProcurementandUseSummaryTotal | Total Peak Needs Not Met (MW) | Decimal | Total peak flexibility service unmet in tender, across all constraint management zones and licence areas, across all individual tenders within the reporting year for delivery in the respective delivery year.
ProcurementandUseSummaryTotal | Dispatched in Delivery Year (MWh) | Decimal | Total MWh volume of flexibility services dispatched across all constraint management zons and licence areas, within the reporting year.
Tender rounds summary | Tender Description | Text | A description of the aggregated tenders, which is summarised per row
Tender rounds summary | Constraint Licence Area | Text | The licence area in which the constraint is. Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Tender rounds summary | Provider Licence Area | Text | The licence area which the provider of the service is connected to. Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Tender rounds summary | Product | Text | The main flexibility product that a service is being procured for. Note this list is not exhaustive and will be updated in line with industry updates.
Tender rounds summary | Number of Participants | Decimal | Number of unique flexibility market participants in the aggregated tender summary period
Tender rounds summary | Peak Tendered (MW/MVAr) | Decimal | Sum of individual peak tendered capacity per zone across all tenders included in the tender summary period
Tender rounds summary | Peak Contracted (MW/MVAr) | Decimal | Sum of individual peak contracted capacity per zone across all tenders included in the tender summary period
Tender rounds summary | Peak Unmet in Tender (MW/MVAr) | Decimal | Sum of individual peak unmet capacity per zone across all tenders included in the tender summary period
Procurement | Tender Reference | Text | Unique reference of flexibility service tender. Where multi-year tenders occur, tender references can be input multiple times.
Procurement | Product | Text (select from valid values provided) | The main flexibility product that a service is being procured for. Note this list is not exhaustive and will be updated in line with industry updates.
Procurement | Constraint Licence Area | Text | The licence area in which the constraint is. Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Procurement | Provider Licence Area | Text | The licence area which the provider of the service is connected to. Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Procurement | Service Location (Grid Supply Point) | Text | The area within which a flexibility service is being procured. Information can be entered as a Grid Supply Point.
Procurement | Service Provider | Text | Name/identifier of the flexibility service provider.
Procurement | Constraint Trigger | Text (select from valid values provided) | Load type(s) which causes the constraint on the network, for which a flexibility service is being procured
Procurement | Constraint Management Zone Name | Text | Name of the Constraint Management Zone (CMZ) within which the flexibility service being procured occurs in.
Procurement | Maximum Connection Voltage | Decimal | The maximum voltage at which a connection occurs within a CMZ.
Procurement | Main technology | Text (select from valid values provided) | Main technology used against each tender reference against the G99 of the ECR.
Procurement | Secondary Technology (where applicable) | Text (select from valid values provided) | Main technology (where applicable) used against each tender reference against the G99 of the ECR.
Procurement | Dispatchable / Non-Dispatchable | Text (select from valid values provided) | Dispatchable: Refers to a flexible solution which can change output from its counterfactual level on DSO instruction closer to real-time. This will depend on the nature of the constraint e.g. demand constraints compared to generation constraints. Non-dispatchable: Refers to a flexible solution which cannot change output from its counterfactual level on DSO instruction closer to real-time. This will depend on the nature of the constraint e.g. demand constraints compared to generation constraints.
Procurement | Number of Bids Received | Decimal | Number of bids received for each tender reference.
Procurement | Bid Outcome | Text (select from valid values provided) | Outcome of the bid under each tender reference for a flexibility service. It is important to cover bids that were not successful within this space to promote transparency and market participation.
Procurement | Flexible Unit Reference | Text | A Distributed Energy Resource (DER) or notional DER consisting of two or more DERs. The Flexible Unit ID is a unique ID which links accepted bids to a specific Flexible Unit. The Flexible Unit ID allows dispatch to be linked to awarded contracts for increased transparency and understanding.
Procurement | Committed Contracts / Non-Committed Contracts | Text (select from valid values provided) | Firm: Committed contracts where flexibility providers commit to making a fixed level of capacity available for dispatch at the point of contracting for the duration of the contract. Non-firm: Non-committed contracts where flexibility providers can vary the capacity available for dispatch during the term of the contract
Procurement | Peak Flexible Capacity (in MW) | Decimal | For firm contracts, this is a maximum committed level of generation or consumption adjustment that can be delivered on request relative to their baseline generation or consumption level. For non-firm contracts, this is the maximum amount that the generation or consumption can be adjusted relative to an assumed baseline generation or consumption level.
Procurement | Peak Flexible Capacity (in MVAr) | Decimal
Procurement | Maximum Run Time (hh:mm) | Time | hh:mm. The maximum time in minutes for which the solution can continuously deliver its flexible capacity. Where no restrictions apply, enter 9999. This gives an indication of the volume a DSO can dispatch when combined with Flexible Capacity.
Procurement | Response Time (hh:mm) | Time | hh:mm. The lead-time from the time of DSO instruction to full delivery of Flexible Capacity.
Procurement | Connection Voltage (in kV) | Decimal | Voltage at which a connection is made. 'Aggregate' option includes scenarios where multiple voltages are being connected for each tender reference.
Procurement | Delivery Year | Text (select from valid values provided) | Regulatory year the delivery will take place in. Where multi-year contracts occur, a series of individual years should be input for improved granularity and transparency e.g. 5 year contract would be reported here as 5 separate lines. Can then see how MW, prices etc may change over duration of contract.
Procurement | Tendered Delivery Start Date | Date | dd/mm/yyyy. Date on which a service delivery is anticipated to start.
Procurement | Tendered Delivery End Date | Date | dd/mm/yyyy. Date on which a service delivery is expected to end.
Procurement | Potential Service Days | Text (select from valid values provided) | Days on which a flexibility service is expected to be available. Hourly service windows can be provided in the Service Windows columns where appropriate.
Procurement | Service Window 1 FROM (where applicable) | Time | hh:mm. Set hours under the defined service days where a flexibility service is expected to be available from. Complete column where appropriate.
Procurement | Service Window 1 TO (where applicable) | Time | hh:mm. Set hours under the defined service days where a flexibility service is expected to be available until. Complete column where appropriate.
Procurement | Service Window 2 FROM (where applicable) | Time | hh:mm. Where contract is for more than 1 service window per day, e.g. morning and evening. Complete column where appropriate.
Procurement | Service Window 2 TO (where applicable) | Time | hh:mm. Where contract is for more than 1 service window per day, e.g. morning and evening. Complete column where appropriate.
Procurement | Original Availability Fee bid (where applicable, in £/MW/hr) | Decimal | The original availability fee the flexibility requirement was set at within the tender rounds, at which bidding would initiate.
Procurement | Original Utilisation Price Bid (where applicable, in £/MWh) | Decimal | The original utilisation fee the flexibility requirement was set at within the tender rounds, at which bidding would initiate.
Procurement | Agreed Availability Fee (where applicable, in £/MW/hr) | Decimal | The agreed availability fee the flexibility requirement has won the bid at within the tender rounds.
Procurement | Agreed Utilisation Price (in £/MWh) | Decimal | The agreed utilisation fee the flexibility requirement has won the bid at within the tender rounds.
Procurement | Service Fee (in £/MWh) | Decimal | The agreed service fee the flexibility requirement has won the bid at within the tender rounds.
Procurement - Locational | Constraint Licence Area | Text | The licence area in which the constraint is. Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Procurement - Locational | Provider Licence Area | Text | The licence area which the provider of the service is connected to. Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Procurement - Locational | Constraint Management Zone | Text | Name of the Constraint Management Zone (CMZ) within which the flexibility service being procured occurs in.
Procurement - Locational | Product | Text (select from valid values provided) | The main flexibility product that a service is being procured for. Note this list is not exhaustive and will be updated in line with industry updates.
Procurement - Locational | Constraint Trigger | Text (select from valid values provided) | Load type(s) which causes the constraint on the network, for which a flexibility service is being procured
Procurement - Locational | Peak Contracted in Prior Years (MW) | Decimal | Peak capacity contracted in the constraint management zone in prior reporting year(s), for delivery in the respective delivery year
Procurement - Locational | Peak Forecasted in Reporting Year (MW) | Decimal | Peak flexibility service required, forecated in the constraint management zone, across the entire reporting year for delivery in the respective delivery year
Procurement - Locational | Peak Tendered in Reporting Year (MW) | Decimal | Peak flexibility service tendered for in the reporting year, across all tenders within the reporting year for delivery in the respective delivery year
Procurement - Locational | Peak Contracted in Reporting Year (MW) | Decimal | Peak flexibility service contracted in the reporting year, across all tenders within the reporting year for delivery in the respective delivery year
Procurement - Locational | Peak Unmet in Tender in Reporting Year (MW) | Decimal | Peak flexibility service unmet in tender, across all individual tenderes within the reporting year for delivery in the respective delivery year
Procurement - Locational | Number of Tenders in Reporting Year | Decimal | The number of tenders within the regulatory year, for delivery in the respective delivery year
Procurement - Locational | Total Tendered in Reporting Year (MW) | Decimal | Sum of all peak flexiblity service tendered for, across all individual tenders within thereporting year for delivery in the respective delivery year
Procurement - Locational | Total Contracted in Reporting Year (MW) | Decimal | Sum of all peak flexibility service contracted, across all individual tenders within the reporting year for delivery in the respective delivery year
Procurement - Locational | Total Unmet in Tenders in Reporting Year (MW) | Decimal | Sum of all peak flexibility service unmet in tender, across all individual tenders within the reporting year for delivery in the respective delivery year
Procurement - Locational | Tender Success Rate in Reporting Year (%) | Percentage | If a flexibility service has been tendered for, calculated as 1 minus the unsuccess rate, where the unsuccess rate is the total unmet in tenders devided by the total tendered in reporting year
Procurement - Locational | Dispatched (MWh) | Decimal | Total MWh volume of flexibility services dispatched within the constraint management zone and reporting year
Dispatch | Tender Reference | Text | Unique reference of flexibility service tender. Where multi-year tenders occur, tender references can be input multiple times.
Dispatch | Incident Reference | Text | Unique reference of incident for which a service was dispatched. Where multi-year tenders occur, incident references can be input multiple times. Where repetition occurs with other references and columns, leave field free.
Dispatch | Product | Text (select from valid values provided) | The main flexibility product for which a service was dispatched for. Note this list is not exhaustive and will be updated in line with industry updates.
Dispatch | Constraint Licence Area | Text | The licence area in which the constraint is. Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Dispatch | Provider Licence Area | Text | The licence area which the provider of the service is connected to. Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Dispatch | Incident location (Grid Supply Point) | Text | The area within which a flexibility service was dispatched. Information can be entered as a Grid Supply Point.
Dispatch | Accepting Party | Text | Details of the accepting party for dispatched service.
Dispatch | Flexible Unit Reference | Text | A Distributed Energy Resource (DER) or notional DER consisting of two or more DERs. The Flexible Unit ID is a unique ID which links accepted bids to a specific Flexible Unit. The Flexible Unit ID allows dispatch to be linked to awarded contracts for increased transparency and understanding.
Dispatch | Main Technology | Text (select from valid values provided) | *Duplication from Procurement Tab for data consistency
Dispatch | Secondary Technology | Text (select from valid values provided) | *Duplication from Procurement Tab for data consistency
Dispatch | Constraint Trigger | Text (select from valid values provided) | Load type(s) which causes the constraint on the network, for which a flexibility service was dispatched
Dispatch | Constraint Management Zone Name | Text | Name of the Constraint Management Zone (CMZ) within which the flexibility service being procured occurs in.
Dispatch | Maximum Connection Voltage | Decimal | The maximum voltage at which a connection occurs within a CMZ.
Dispatch | Dispatch Capacity (MW) | Decimal | The flexible MW dispatched. Average MW for a profiled dispatch.
Dispatch | Dispatch Volume (MWh) | Decimal | The total dispatch energy calculated as Dispatch Capacity x Total Duration (Column U)
Dispatch | Dispatch Capacity (MVAr) | Decimal | The flexible MVAr dispatched. Average MVAr for a profiled dispatch.
Dispatch | Dispatch Volume (MVArh) | Decimal | The total dispatch energy calculated as Dispatch Capacity x Total Duration (Column U)
Dispatch | Availability Fee (£/MW/hr) | Decimal | The availability price the flexibility requirement was dispatched at.
Dispatch | Utilisation Price (£/MWh) | Decimal | The utilisation price the flexibility requirement was dispatched at.
Dispatch | Service Fee (in £/MWh) | Decimal | The service price the flexibility requirement was dispatched at.
| Pricing Strategy | Text (limited to 50 characters) | Description of pricing strategy associated with pricing where possible, examples include but not limited to: fixed, ceiling price, clearing price, adjusted monthly.
Dispatch | Date of Instruction (DD/MM/YYYY) | Date | dd/mm/yyyy. Defining the timing of dispatch. Gives indication of notice period together with Start field.
Dispatch | Time of Instruction (HH:MM) | Time | hh:mm. Defining the timing of dispatch. Gives indication of notice period together with Start field.
Dispatch | Start Date of Instruction (DD/MM/YYYY) | Date | dd/mm/yyyy. Defining timing of dispatch and therefore network need.
Dispatch | Start Time of Instruction (HH:MM) | Time | hh:mm. Defining timing of dispatch and therefore network need.
Dispatch | End Date of Instruction (DD/MM/YYYY) | Date | dd/mm/yyyy. Defining timing of dispatch and therefore network need.
Dispatch | End Time of Instruction (HH:MM) | Time | hh:mm. Defining timing of dispatch and therefore network need.
Dispatch | Actual Duration of Dispatched Utility (HH:MM) | Time | hh:mm. Actual duration of service defined within the service windows (dates and times) above.
Dispatch | Accept Time (HH:MM) | Time | hh:mm. Actual time a dispatched utility was accepted.
Dispatch | Notice Time (HH:MM) | Time | hh:mm. Actual time a notice of the dispatched utility was given.
Dispatch | Expected Duration (HH:MM) (where applicable) | Time | hh:mm. Expected duration of a service being dispatched. Complete this column where applicable.
Dispatch | Notes | Text | Use notes sections within Procurement and Dispatch tabs to add any additional notes to do with tabs, data fields, or format of sheets.

## ProcurementandUseSummaryTotal
| Sustain | Secure | Dynamic | Restore | Reactive Power | Operational Utilisation - 15 Minute Response Time | Operational Utilisation- 2 Minute Response Time | Operational Utilisation - Week Ahead Response | Operational Utilisation + Scheduled Availability - 2 Minute Response Time | Operational Utilisation + Scheduled Availability - Day Ahead Reponse | Operational Utilisation + Variable Availability - 2 Minute Response Time | Operational Utilisation + Variable Availability - 15 Minute Response Time | Operational Utilisation + Variable Availability - Day Ahead Response Time | Operational Utilisation + Variable Availability - Week Ahead Response Time | Peak Reduction - N/A | Scheduled Utilisation - Settlement Periods | Scheduled Utilisation - Specific Periods
| MW | MW | MW | MW | MVAr | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW
Delivery Year: 2021/22
Total Peak Contracted in Prior Reporting Years (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Tendered in Reporting Year (MW) | 5.8 | 54.8 | 1.3 | 106.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Contracted in Reporting Year (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Needs Not Met (MW) | 5.8 | 54.8 | 1.3 | 106.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatched in Delivery Year (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Delivery Year: 2022/23
Total Peak Contracted in Prior Reporting Years (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Tendered in Reporting Year (MW) | 0 | 42.1 | 41.21 | 216.317 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Contracted in Reporting Year (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Needs Not Met (MW) | 0 | 42.1 | 41.21 | 216.317 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatched in Delivery Year (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Delivery Year: 2023/24
Total Peak Contracted in Prior Reporting Years (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Tendered in Reporting Year (MW) | 0 | 2.82 | 1.4 | 106.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Contracted in Reporting Year (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Needs Not Met (MW) | 0 | 2.82 | 1.4 | 106.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatched in Delivery Year (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Delivery Year: 2024/25
Total Peak Contracted in Prior Reporting Years (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Tendered in Reporting Year (MW) | 0 | 12.36 | 11.34 | 125.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Contracted in Reporting Year (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Needs Not Met (MW) | 0 | 12.36 | 11.32 | 125.1219 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatched in Delivery Year (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Delivery Year: 2025/26
Total Peak Contracted in Prior Reporting Years (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Tendered in Reporting Year (MW) | 0 | 22.06 | 26.11 | 149.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Contracted in Reporting Year (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Needs Not Met (MW) | 0 | 22.06 | 25.66 | 149.3298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatched in Delivery Year (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Delivery Year: 2026/27
Total Peak Contracted in Prior Reporting Years (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Tendered in Reporting Year (MW) | 0 | 42.81 | 51.93 | 149.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Contracted in Reporting Year (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Needs Not Met (MW) | 0 | 42.81 | 51.48 | 149.3362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatched in Delivery Year (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Delivery Year: 2027/28
Total Peak Contracted in Prior Reporting Years (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Tendered in Reporting Year (MW) | 0 | 83.66 | 49.94 | 167.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Contracted in Reporting Year (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Peak Needs Not Met (MW) | 0 | 83.66 | 49.59 | 167.5832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatched in Delivery Year (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Years added as required to reflect contracts

## Tender rounds summary
Tender Description | Constraint Licence Area | Provider Licence Area | Product | Number of Participants | Peak Tendered (MW/MVAr) | Peak Contracted (MW/MVAr) | Peak Unmet in Tender (MW/MVAr)
TT111205 - Flexibility Services Autumn 2023 | Electricity North West Limited | Electricity North West Limited | Restore | 3 | 8.3 | 0.383 | 83.91
TT111205 - Flexibility Services Autumn 2023 | Electricity North West Limited | Electricity North West Limited | Dynamic | 3 | 16.7 | 0.246 | 27.83
TT111205 - Flexibility Services Autumn 2023 | Electricity North West Limited | Electricity North West Limited | Secure | 1 | 5.29 | 0 | 6.21
TT111027 - Flexibility Services Spring 2023 | Electricity North West Limited | Electricity North West Limited | Restore | 1 | 84.68 | 0 | 84.68
TT111027 - Flexibility Services Spring 2023 | Electricity North West Limited | Electricity North West Limited | Dynamic | 2 | 48.25 | 0.35 | 47.9
TT111027 - Flexibility Services Spring 2023 | Electricity North West Limited | Electricity North West Limited | Secure | 0 | 73.73 | 73.73 | 73.73

## Procurement - Locational
Constraint Licence Area | Provider Licence Area | Constraint Management Zone | Product | Constraint Trigger | Delivery Year 23/24 | [10 empty] | Delivery Year 24/25 | [10 empty] | Delivery Year 25/26 | [10 empty] | Delivery Year 26/27 | [10 empty] | Delivery Year 27/28 | [10 empty] | Delivery Year 28/29
[5 empty] | Peak Contracted in Prior Years (MW) | Peak Forecasted in Delivery Year (MW) | Peak Tendered in Reporting Year (MW) | Peak Contracted in Reporting Year (MW) | Peak Unmet in Tender in Reporting Year (MW) | Number of Tenders in Reporting Year | Total Tendered in Reporting Year (MW) | Total Contracted in Reporting Year (MW) | Total Unmet in Tenders in Reporting Year (MW) | Tender Success Rate in Reporting Year (%) | Dispatched (MWh) | Peak Contracted in Prior Years (MW) | Peak Forecasted in Delivery Year (MW) | Peak Tendered in Reporting Year (MW) | Peak Contracted in Reporting Year (MW) | Peak Unmet in Tender in Reporting Year (MW) | Number of Tenders in Reporting Year | Total Tendered in Reporting Year (MW) | Total Contracted in Reporting Year (MW) | Total Unmet in Tenders in Reporting Year (MW) | Tender Success Rate in Reporting Year (%) | Dispatched (MWh) | Peak Contracted in Prior Years (MW) | Peak Forecasted in Delivery Year (MW) | Peak Tendered in Reporting Year (MW) | Peak Contracted in Reporting Year (MW) | Peak Unmet in Tender in Reporting Year (MW) | Number of Tenders in Reporting Year | Total Tendered in Reporting Year (MW) | Total Contracted in Reporting Year (MW) | Total Unmet in Tenders in Reporting Year (MW) | Tender Success Rate in Reporting Year (%) | Dispatched (MWh) | Peak Contracted in Prior Years (MW) | Peak Forecasted in Delivery Year (MW) | Peak Tendered in Reporting Year (MW) | Peak Contracted in Reporting Year (MW) | Peak Unmet in Tender in Reporting Year (MW) | Number of Tenders in Reporting Year | Total Tendered in Reporting Year (MW) | Total Contracted in Reporting Year (MW) | Total Unmet in Tenders in Reporting Year (MW) | Tender Success Rate in Reporting Year (%) | Dispatched (MWh) | Peak Contracted in Prior Years (MW) | Peak Forecasted in Delivery Year (MW) | Peak Tendered in Reporting Year (MW) | Peak Contracted in Reporting Year (MW) | Peak Unmet in Tender in Reporting Year (MW) | Number of Tenders in Reporting Year | Total Tendered in Reporting Year (MW) | Total Contracted in Reporting Year (MW) | Total Unmet in Tenders in Reporting Year (MW) | Tender Success Rate in Reporting Year (%) | Dispatched (MWh) | Peak Contracted in Prior Years (MW) | Peak Forecasted in Delivery Year (MW) | Peak Tendered in Reporting Year (MW) | Peak Contracted in Reporting Year (MW) | Peak Unmet in Tender in Reporting Year (MW) | Number of Tenders in Reporting Year | Total Tendered in Reporting Year (MW) | Total Contracted in Reporting Year (MW) | Total Unmet in Tenders in Reporting Year (MW) | Tender Success Rate in Reporting Year (%) | Dispatched (MWh)
Electricity North West Limited | Electricity North West Limited | Alston | Dynamic | Demand Constraint | 0 | 0.16 | 0.16 | 0 | 0.16 | 1 | 0.16 | 0 | 0.16 | 0% | 0 | 0 | 0.24 | 0.24 | 0 | 0.24 | 2 | 0.4 | 0 | 0.4 | 0% | 0 | 0 | 0.28 | 0.28 | 0 | 0.28 | 2 | 0.47 | 0 | 0.47 | 0 | 0 | 0 | 0.37 | 0.37 | 0 | 0.37 | 1 | 0.37 | 0 | 0.37 | 0% | 0 | 0 | 0 | 0.43 | 0 | 0.43 | 2 | 0.77 | 0 | 0.77 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Alston | Restore | Demand Constraint | 0 | 1.67 | 1.67 | 0 | 1.67 | 1 | 1.67 | 0 | 1.67 | 0% | 0 | 0 | 1.67 | 1.67 | 0 | 1.67 | 2 | 3.17 | 0 | 3.17 | 0% | 0 | 0 | 1.67 | 1.67 | 0 | 1.67 | 2 | 3.17 | 0 | 3.17 | 0 | 0 | 0 | 1.67 | 1.67 | 0 | 1.67 | 2 | 3.17 | 0 | 3.17 | 0% | 0 | 0 | 1.67 | 1.67 | 0 | 1.67 | 2 | 3.17 | 0 | 3.17 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Ardwick | Dynamic | Demand Constraint | 0 | 0.5 | 0.5 | 0 | 0.5 | 1 | 0.5 | 0 | 0.5 | 0% | 0 | 0 | 0.72 | 0.72 | 0 | 0.7 | 1 | 0.72 | 0 | 0.7 | 2.778% | 0 | 0 | 2.12 | 2.12 | 0 | 2.12 | 2 | 3.14 | 0 | 3.12 | 0.0063694 | 0 | 0 | 3.99 | 3.99 | 0 | 3.99 | 2 | 5.47 | 0 | 5.45 | 0.3656% | 0 | 0 | 1.79 | 1.79 | 0 | 1.79 | 1 | 1.79 | 0 | 1.79 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Ardwick | Restore | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 12.84 | 12.84 | 0 | 12.84 | 1 | 12.84 | 0 | 12.84 | 0% | 0 | 0 | 12.84 | 12.84 | 0 | 12.84 | 1 | 12.84 | 0 | 12.84 | 0 | 0 | 0 | 12.84 | 12.84 | 0 | 12.84 | 1 | 12.84 | 0 | 12.84 | 0% | 0 | 0 | 12.84 | 12.84 | 0 | 12.84 | 2 | 25.68 | 0 | 25.68 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Ardwick | Secure | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 3.32 | 3.32 | 0 | 3.32 | 1 | 3.32 | 0 | 3.32 | 0% | 0 | 0 | 5.51 | 5.51 | 0 | 5.51 | 1 | 5.51 | 0 | 5.51 | 0 | 0 | 0 | 7.74 | 7.74 | 0 | 7.74 | 1 | 7.74 | 0 | 7.74 | 0% | 0 | 0 | 9.93 | 9.93 | 0 | 9.93 | 2 | 15.75 | 0 | 15.75 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Askerton Castle | Restore | Demand Constraint | 0 | 1.34 | 1.34 | 0 | 1.34 | 1 | 1.34 | 0 | 1.34 | 0% | 0 | 0 | 1.34 | 1.34 | 0 | 1.34 | 2 | 2.64 | 0 | 2.64 | 0% | 0 | 0 | 1.34 | 1.34 | 0 | 1.34 | 2 | 2.64 | 0 | 2.64 | 0 | 0 | 0 | 1.34 | 1.34 | 0 | 1.34 | 2 | 2.64 | 0 | 2.64 | 0% | 0 | 0 | 1.34 | 1.34 | 0 | 1.34 | 2 | 2.64 | 0 | 2.64 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Bentham | Restore | Demand Constraint | 0 | 4.49 | 4.49 | 0 | 4.49 | 1 | 4.49 | 0 | 4.49 | 0% | 0 | 0 | 4.49 | 4.49 | 0 | 4.49 | 2 | 8.49 | 0 | 8.4836 | 0.07538% | 0 | 0 | 4.49 | 4.49 | 0 | 4.49 | 2 | 8.49 | 0 | 8.4836 | 0.00075383 | 0 | 0 | 4.49 | 4.49 | 0 | 4.49 | 2 | 8.49 | 0 | 8.4836 | 0.07538% | 0 | 0 | 4.49 | 4.49 | 0 | 4.49 | 2 | 8.49 | 0 | 8.4836 | 0.07538% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Bolton By Bowland | Dynamic | Demand Constraint | 0 | 0.3 | 0.3 | 0 | 0.3 | 1 | 0.3 | 0 | 0.3 | 0% | 0 | 0 | 0.44 | 0.44 | 0 | 0.44 | 1 | 0.44 | 0 | 0.44 | 0% | 0 | 0 | 0.56 | 0.56 | 0 | 0.56 | 2 | 0.78 | 0 | 0.78 | 0 | 0 | 0 | 0.68 | 0.68 | 0 | 0.68 | 2 | 1 | 0 | 1 | 0% | 0 | 0 | 0.41 | 0.41 | 0 | 0.41 | 1 | 0.41 | 0 | 0.41 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Bolton By Bowland | Restore | Demand Constraint | 0 | 3.16 | 3.16 | 0 | 3.16 | 1 | 3.16 | 0 | 3.16 | 0% | 0 | 0 | 3.16 | 3.16 | 0 | 3.16 | 2 | 6.16 | 0 | 6.1562 | 0.06234% | 0 | 0 | 3.16 | 3.16 | 0 | 3.16 | 2 | 6.16 | 0 | 6.1562 | 0.00062338 | 0 | 0 | 3.16 | 3.16 | 0 | 3.16 | 2 | 6.16 | 0 | 6.1562 | 0.06234% | 0 | 0 | 3.16 | 3.16 | 0 | 3.16 | 2 | 6.16 | 0 | 6.1562 | 0.06234% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Bolton By Bowland | Secure | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0.81 | 0.81 | 0 | 0.81 | 1 | 0.81 | 0 | 0.81 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Catterall Waterworks | Restore | Demand Constraint | 0 | 7.62 | 7.62 | 0 | 7.62 | 1 | 7.62 | 0 | 7.62 | 0% | 0 | 0 | 8.3 | 8.3 | 0 | 8.2987 | 2 | 15.92 | 0 | 15.9187 | 0.00804% | 0 | 0 | 8.3 | 8.3 | 0 | 8.2987 | 2 | 15.92 | 0 | 15.9187 | 8.0402e-05 | 0 | 0 | 8.3 | 8.3 | 0 | 8.2987 | 2 | 15.92 | 0 | 15.9187 | 0.00804% | 0 | 0 | 8.3 | 8.3 | 0 | 8.2987 | 2 | 15.92 | 0 | 15.9187 | 0.00804% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Chorley South | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0.91 | 0.91 | 0 | 0.91 | 1 | 0.91 | 0 | 0.91 | 0% | 0 | 0 | 1.47 | 1.47 | 0 | 1.47 | 1 | 1.47 | 0 | 1.47 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Church | Restore | Demand Constraint | 0 | 5.8 | 5.8 | 0 | 5.8 | 1 | 5.8 | 0 | 5.8 | 0% | 0 | 0 | 6.1 | 6.1 | 0 | 5.897 | 2 | 11.9 | 0 | 11.697 | 1.706% | 0 | 0 | 6.1 | 6.1 | 0 | 5.8 | 2 | 11.9 | 0 | 11.597 | 0.025462 | 0 | 0 | 6.1 | 6.1 | 0 | 5.8 | 2 | 11.9 | 0 | 11.597 | 2.546% | 0 | 0 | 6.1 | 6.1 | 0 | 5.797 | 2 | 11.9 | 0 | 11.597 | 2.546% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Claughton | Restore | Demand Constraint | 0 | 4.13 | 4.13 | 0 | 4.13 | 1 | 4.13 | 0 | 4.13 | 0% | 0 | 0 | 4.13 | 4.13 | 0 | 4.13 | 2 | 7.63 | 0 | 7.62 | 0.1311% | 0 | 0 | 4.13 | 4.13 | 0 | 4.13 | 2 | 7.63 | 0 | 7.62 | 0.0013106 | 0 | 0 | 4.13 | 4.13 | 0 | 4.13 | 2 | 7.63 | 0 | 7.62 | 0.1311% | 0 | 0 | 4.13 | 4.13 | 0 | 4.13 | 2 | 7.63 | 0 | 7.62 | 0.1311% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Coniston | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0.51 | 0.51 | 0 | 0.51 | 2 | 1 | 0 | 1 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Coniston | Restore | Demand Constraint | 0 | 2.41 | 2.41 | 0 | 2.41 | 1 | 2.41 | 0 | 2.41 | 0% | 0 | 0 | 2.41 | 2.41 | 0 | 2.41 | 3 | 5.35 | 0 | 5.35 | 0% | 0 | 0 | 2.41 | 2.41 | 0 | 2.41 | 4 | 6.04 | 0 | 6.04 | 0 | 0 | 0 | 2.41 | 2.41 | 0 | 2.41 | 4 | 6.17 | 0 | 6.17 | 0% | 0 | 0 | 2.41 | 2.41 | 0 | 2.41 | 4 | 6.37 | 0 | 6.37 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Coniston | Secure | Demand Constraint | 0 | 0.56 | 0.56 | 0.56 | 0.56 | 1 | 0.56 | 0 | 0.56 | 0% | 0 | 0 | 0.91 | 0.91 | 0 | 0.91 | 2 | 1.55 | 0 | 1.55 | 0% | 0 | 0 | 1.02 | 1.02 | 0 | 1.02 | 4 | 2.95 | 0 | 2.95 | 0 | 0 | 0 | 1.1 | 1.1 | 0 | 1.1 | 4 | 3.23 | 0 | 3.23 | 0% | 0 | 0 | 1.16 | 1.16 | 0 | 1.16 | 4 | 3.54 | 0 | 3.54 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Eastlands | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 2.13 | 2.13 | 0 | 2.13 | 1 | 2.13 | 0 | 2.13 | 0 | 0 | 0 | 2.87 | 2.87 | 0 | 2.87 | 1 | 2.87 | 0 | 2.87 | 0% | 0 | 0 | 6.85 | 6.85 | 0 | 6.85 | 1 | 6.85 | 0 | 6.85 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Eastlands | Secure | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 6.74 | 6.74 | 0 | 6.74 | 1 | 6.74 | 0 | 6.74 | 0% | 0 | 0 | 11.34 | 11.34 | 0 | 11.34 | 1 | 11.34 | 0 | 11.34 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Flat Lane | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0.57 | 0.57 | 0 | 0.57 | 1 | 0.57 | 0 | 0.57 | 0% | 0 | 0 | 0.73 | 0.73 | 0 | 0.73 | 1 | 0.73 | 0 | 0.73 | 0 | 0 | 0 | 0.9 | 0.9 | 0 | 0.9 | 1 | 0.9 | 0 | 0.9 | 0% | 0 | 0 | 1.06 | 1.06 | 0 | 1.06 | 1 | 1.06 | 0 | 1.06 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Flat Lane | Restore | Demand Constraint | 0 | 3.92 | 3.92 | 0 | 3.92 | 1 | 3.92 | 0 | 3.92 | 0% | 0 | 0 | 3.92 | 3.92 | 0 | 3.92 | 2 | 7.62 | 0 | 7.6149 | 0.06719% | 0 | 0 | 3.92 | 3.92 | 0 | 3.92 | 2 | 7.62 | 0 | 7.6149 | 0.00067192 | 0 | 0 | 3.92 | 3.92 | 0 | 3.92 | 2 | 7.62 | 0 | 7.6149 | 0.06719% | 0 | 0 | 3.92 | 3.92 | 0 | 3.92 | 2 | 7.62 | 0 | 7.6149 | 0.06719% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Frederick Rd BSP | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 6.36 | 6.36 | 0 | 6.26 | 1 | 6.36 | 0 | 6.26 | 1.572% | 0 | 0 | 16.7 | 16.7 | 0 | 16.7 | 1 | 16.7 | 0 | 16.7 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Gillsrow | Restore | Demand Constraint | 0 | 4.67 | 4.67 | 0 | 4.67 | 1 | 4.67 | 0 | 4.67 | 0% | 0 | 0 | 4.67 | 4.67 | 0 | 4.67 | 2 | 8.37 | 0 | 8.3636 | 0.07646% | 0 | 0 | 4.67 | 4.67 | 0 | 4.6636 | 2 | 8.37 | 0 | 8.3636 | 0.00076464 | 0 | 0 | 4.67 | 4.67 | 0 | 4.67 | 2 | 8.37 | 0 | 8.3636 | 0.07646% | 0 | 0 | 4.67 | 4.67 | 0 | 4.67 | 2 | 8.37 | 0 | 8.3636 | 0.07646% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Hattersley | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0.98 | 0.98 | 0 | 0.98 | 1 | 0.98 | 0 | 0.98 | 0 | 0 | 0 | 1.46 | 1.46 | 0 | 1.46 | 1 | 1.46 | 0 | 1.46 | 0% | 0 | 0 | 1.9 | 1.9 | 0 | 1.9 | 1 | 1.9 | 0 | 1.9 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Helwith Bridge | Restore | Demand Constraint | 0 | 3.11 | 3.11 | 0 | 3.11 | 1 | 3.11 | 0 | 3.11 | 0% | 0 | 0 | 3.3 | 3.3 | 0 | 3.2974 | 2 | 6.41 | 0 | 6.4074 | 0.03994% | 0 | 0 | 3.3 | 3.3 | 0 | 3.2974 | 2 | 6.41 | 0 | 6.4074 | 0.00039938 | 0 | 0 | 3.3 | 3.3 | 0 | 3.2974 | 2 | 6.41 | 0 | 6.4074 | 0.03994% | 0 | 0 | 3.3 | 3.3 | 0 | 3.2974 | 2 | 6.41 | 0 | 6.4074 | 0.03994% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Heywood | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 1.43 | 1.43 | 0 | 1.43 | 1 | 1.43 | 0 | 1.43 | 0% | 0 | 0 | 2.79 | 2.79 | 0 | 2.79 | 1 | 2.79 | 0 | 2.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Heywood | Restore | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 12.42 | 12.42 | 0 | 12.42 | 1 | 12.42 | 0 | 12.42 | 0 | 0 | 0 | 12.42 | 12.42 | 0 | 12.42 | 2 | 24.84 | 0 | 24.84 | 0% | 0 | 0 | 12.42 | 12.42 | 0 | 12.42 | 2 | 24.84 | 0 | 24.84 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Heywood | Secure | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 6.84 | 6.84 | 0 | 6.84 | 1 | 6.84 | 0 | 6.84 | 0 | 0 | 0 | 16.86 | 16.86 | 0 | 16.86 | 2 | 28.12 | 0 | 28.12 | 0% | 0 | 0 | 19.62 | 19.62 | 0 | 19.62 | 2 | 33.21 | 0 | 33.21 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Ingleton | Restore | Demand Constraint | 0 | 2.27 | 2.27 | 0 | 2.27 | 1 | 2.27 | 0 | 2.27 | 0% | 0 | 0 | 2.27 | 2.27 | 0 | 2.27 | 2 | 4.47 | 0 | 4.4674 | 0.05727% | 0 | 0 | 2.27 | 2.27 | 0 | 2.27 | 2 | 4.47 | 0 | 4.4674 | 0.00057271 | 0 | 0 | 2.27 | 2.27 | 0 | 2.27 | 2 | 4.47 | 0 | 4.4674 | 0.05727% | 0 | 0 | 2.27 | 2.27 | 0 | 2.27 | 2 | 4.47 | 0 | 4.4674 | 0.05727% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Marple | Restore | Demand Constraint | 0 | 4.67 | 4.67 | 0 | 4.67 | 1 | 4.67 | 0 | 4.67 | 0% | 0 | 0 | 4.67 | 4.67 | 0 | 4.67 | 2 | 9.07 | 0 | 9.0546 | 0.1693% | 0 | 0 | 4.67 | 4.67 | 0 | 4.67 | 2 | 9.07 | 0 | 9.0546 | 0.0016935 | 0 | 0 | 4.67 | 4.67 | 0 | 4.67 | 2 | 9.07 | 0 | 9.0546 | 0.1693% | 0 | 0 | 4.67 | 4.67 | 0 | 4.67 | 2 | 9.07 | 0 | 9.0546 | 0.1693% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Melling | Restore | Demand Constraint | 0 | 2.23 | 2.23 | 0 | 2.23 | 1 | 2.23 | 0 | 2.23 | 0% | 0 | 0 | 2.23 | 2.23 | 0 | 2.23 | 2 | 4.43 | 0 | 4.4274 | 0.05779% | 0 | 0 | 2.23 | 2.23 | 0 | 2.23 | 2 | 4.43 | 0 | 4.4274 | 0.00057788 | 0 | 0 | 2.23 | 2.23 | 0 | 2.23 | 2 | 4.43 | 0 | 4.4274 | 0.05779% | 0 | 0 | 2.23 | 2.23 | 0 | 2.23 | 2 | 4.43 | 0 | 4.4274 | 0.05779% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Moss Lane | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0.54 | 0.54 | 0 | 0.19 | 1 | 0.54 | 0 | 0.19 | 0.64815 | 0 | 0 | 1.33 | 1.33 | 0 | 0.98 | 2 | 1.7 | 0 | 1.324 | 22.12% | 0 | 0 | 2.07 | 2.07 | 0 | 1.72 | 2 | 2.91 | 0 | 2.534 | 12.92% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Moss Side (Leyland) & Seven Stars | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0.8 | 0.8 | 0 | 0.8 | 1 | 0.8 | 0 | 0.8 | 0 | 0 | 0 | 1.29 | 1.29 | 0 | 1.29 | 1 | 1.29 | 0 | 1.29 | 0% | 0 | 0 | 1.63 | 1.63 | 0 | 1.63 | 1 | 1.63 | 0 | 1.63 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Moss Side (Longsight) | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 1.67 | 1.67 | 0 | 1.67 | 2 | 2.97 | 0 | 2.97 | 0% | 0 | 0 | 1.78 | 1.78 | 0 | 1.78 | 1 | 1.78 | 0 | 1.78 | 0 | 0 | 0 | 2.21 | 2.21 | 0 | 2.21 | 2 | 3.72 | 0 | 3.72 | 0% | 0 | 0 | 2.65 | 2.65 | 0 | 2.65 | 1 | 2.65 | 0 | 2.65 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Moss Side (Longsight) | Restore | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 4.2 | 4.2 | 0 | 4.1987 | 1 | 4.2 | 0 | 4.1987 | 0.03048% | 0 | 0 | 16.09 | 16.09 | 0 | 16.09 | 2 | 20.41 | 0 | 20.4087 | 6.2714e-05 | 0 | 0 | 16.09 | 16.09 | 0 | 16.09 | 2 | 20.89 | 0 | 20.8887 | 0.006127% | 0 | 0 | 16.09 | 16.09 | 0 | 16.09 | 3 | 37.47 | 0 | 37.4687 | 0.003416% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Moss Side (Longsight) | Secure | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 4.2 | 4.2 | 0 | 4.2 | 1 | 4.2 | 0 | 4.2 | 0% | 0 | 0 | 4.32 | 4.32 | 0 | 4.32 | 2 | 7.75 | 0 | 7.75 | 0 | 0 | 0 | 5.69 | 5.69 | 0 | 5.69 | 2 | 10.49 | 0 | 10.49 | 0% | 0 | 0 | 7.97 | 7.97 | 0 | 7.97 | 3 | 16.67 | 0 | 16.67 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Newbiggin on Lune | Restore | Demand Constraint | 0 | 0.91 | 0.91 | 0 | 0.91 | 1 | 0.91 | 0 | 0.91 | 0% | 0 | 0 | 1.1 | 1.1 | 0 | 1.1 | 2 | 2.01 | 0 | 2.01 | 0% | 0 | 0 | 1.1 | 1.1 | 0 | 1.1 | 2 | 2.01 | 0 | 2.01 | 0 | 0 | 0 | 1.1 | 1.1 | 0 | 1.1 | 2 | 2.01 | 0 | 2.01 | 0% | 0 | 0 | 1.1 | 1.1 | 0 | 1.1 | 2 | 2.01 | 0 | 2.01 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Newby | Restore | Demand Constraint | 0 | 5.48 | 5.48 | 0 | 5.48 | 1 | 5.48 | 0 | 5.48 | 0% | 0 | 0 | 5.48 | 5.48 | 0 | 5.48 | 2 | 10.88 | 0 | 10.88 | 0% | 0 | 0 | 5.48 | 5.48 | 0 | 5.48 | 2 | 10.88 | 0 | 10.88 | 0 | 0 | 0 | 5.48 | 5.48 | 0 | 5.48 | 2 | 10.88 | 0 | 10.88 | 0% | 0 | 0 | 5.48 | 5.48 | 0 | 5.48 | 2 | 10.88 | 0 | 10.88 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Peel St | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0.32 | 0.32 | 0 | 0.22 | 1 | 0.32 | 0 | 0.22 | 0.3125 | 0 | 0 | 0.67 | 0.67 | 0 | 0.67 | 1 | 0.67 | 0 | 0.67 | 0% | 0 | 0 | 0.99 | 0.99 | 0 | 0.99 | 1 | 0.99 | 0 | 0.99 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Portwood | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 1.15 | 1.15 | 0 | 1.15 | 1 | 1.15 | 0 | 1.15 | 0 | 0 | 0 | 4.71 | 4.71 | 0 | 4.71 | 2 | 7.92 | 0 | 7.92 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Portwood | Restore | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 18.25 | 18.25 | 0 | 18.25 | 2 | 36.5 | 0 | 36.5 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Portwood | Secure | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 7.02 | 7.02 | 0 | 7.02 | 2 | 12.4 | 0 | 12.4 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Queens Park | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 2.53 | 2.53 | 0 | 2.53 | 1 | 2.53 | 0 | 2.53 | 0% | 0 | 0 | 8.18 | 8.18 | 0 | 8.18 | 1 | 8.18 | 0 | 8.18 | 0 | 0 | 0 | 14.15 | 14.15 | 0 | 14.15 | 1 | 14.15 | 0 | 14.15 | 0% | 0 | 0 | 3.16 | 3.16 | 0 | 3.16 | 1 | 3.16 | 0 | 3.16 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Queens Park | Secure | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 19.87 | 19.87 | 0 | 19.87 | 1 | 19.87 | 0 | 19.87 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Rossall | Restore | Demand Constraint | 0 | 3.89 | 3.89 | 0 | 3.89 | 1 | 3.89 | 0 | 3.89 | 0% | 0 | 0 | 3.9 | 3.9 | 0 | 3.9 | 2 | 7.79 | 0 | 7.79 | 0% | 0 | 0 | 3.9 | 3.9 | 0 | 3.9 | 2 | 7.79 | 0 | 7.79 | 0 | 0 | 0 | 3.9 | 3.9 | 0 | 3.9 | 2 | 7.79 | 0 | 7.79 | 0% | 0 | 0 | 3.9 | 3.9 | 0 | 3.9 | 2 | 7.79 | 0 | 7.79 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Scarisbrick | Restore | Demand Constraint | 0 | 5.23 | 5.23 | 0 | 5.23 | 1 | 5.23 | 0 | 5.23 | 0% | 0 | 0 | 5.23 | 5.23 | 0 | 5.23 | 2 | 8.93 | 0 | 8.92 | 0.112% | 0 | 0 | 5.23 | 5.23 | 0 | 5.23 | 2 | 8.93 | 0 | 8.92 | 0.0011198 | 0 | 0 | 5.23 | 5.23 | 0 | 5.23 | 2 | 8.93 | 0 | 8.92 | 0.112% | 0 | 0 | 5.23 | 5.23 | 0 | 5.23 | 2 | 8.93 | 0 | 8.92 | 0.112% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Sebergham | Restore | Demand Constraint | 0 | 3.74 | 3.74 | 0 | 3.74 | 1 | 3.74 | 0 | 3.74 | 0% | 0 | 0 | 3.8 | 3.8 | 0 | 3.8 | 2 | 7.54 | 0 | 7.54 | 0% | 0 | 0 | 3.8 | 3.8 | 0 | 3.8 | 2 | 7.54 | 0 | 7.54 | 0 | 0 | 0 | 3.8 | 3.8 | 0 | 3.8 | 2 | 7.54 | 0 | 7.54 | 0% | 0 | 0 | 3.8 | 3.8 | 0 | 3.8 | 2 | 7.54 | 0 | 7.54 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Sedbergh | Restore | Demand Constraint | 0 | 4.19 | 4.19 | 0 | 4.19 | 1 | 4.19 | 0 | 4.19 | 0% | 0 | 0 | 4.19 | 4.19 | 0 | 4.19 | 2 | 8.29 | 0 | 8.2836 | 0.0772% | 0 | 0 | 4.19 | 4.19 | 0 | 4.19 | 2 | 8.29 | 0 | 8.2836 | 0.00077201 | 0 | 0 | 4.19 | 4.19 | 0 | 4.19 | 2 | 8.29 | 0 | 8.2836 | 0.0772% | 0 | 0 | 4.19 | 4.19 | 0 | 4.19 | 2 | 8.29 | 0 | 8.2836 | 0.0772% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Settle | Dynamic | Demand Constraint | 0 | 0.44 | 0.44 | 0 | 0.44 | 1 | 0.44 | 0 | 0.44 | 0% |  | 0 | 0.59 | 0.59 | 0 | 0.59 | 2 | 1.14 | 0 | 1.14 | 0% | 0 | 0 | 0.69 | 0.69 | 0 | 0.69 | 2 | 1.32 | 0 | 1.32 | 0 | 0 | 0 | 0.8 | 0.8 | 0 | 0.8 | 2 | 1.52 | 0 | 1.52 | 0% | 0 | 0 | 0.89 | 0.89 | 0 | 0.89 | 2 | 1.23 | 0 | 1.23 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Settle | Restore | Demand Constraint | 0 | 4.26 | 4.26 | 0 | 4.26 | 1 | 4.26 | 0 | 4.26 | 0% | 0 | 0 | 4.4 | 4.4 | 0 | 4.4 | 2 | 8.66 | 0 | 8.6587 | 0.01478% | 0 | 0 | 4.4 | 4.4 | 0 | 4.4 | 2 | 8.66 | 0 | 8.6587 | 0.00014781 | 0 | 0 | 4.4 | 4.4 | 0 | 4.4 | 2 | 8.66 | 0 | 8.6587 | 0.01478% | 0 | 0 | 4.4 | 4.4 | 0 | 4.4 | 2 | 8.66 | 0 | 8.6587 | 0.01478% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Settle | Secure | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0.81 | 0.81 | 0 | 0.81 | 1 | 0.81 | 0 | 0.81 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Victoria Park | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 5.87 | 5.87 | 0 | 5.87 | 1 | 5.87 | 0 | 5.87 | 0% | 0 | 0 | 7.94 | 7.94 | 0 | 7.94 | 2 | 11.97 | 0 | 11.97 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Wigton | Dynamic | Demand Constraint | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 2.64 | 2.64 | 0 | 2.64 | 1 | 2.64 | 0 | 2.64 | 0% | 0 | 0 | 3.06 | 3.06 | 0 | 3.06 | 1 | 3.06 | 0 | 3.06 | 0 | 0 | 0 | 3.36 | 3.36 | 0 | 3.36 | 1 | 3.36 | 0 | 3.36 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Wigton | Restore | Demand Constraint | 0 | 24.17 | 24.17 | 0 | 24.17 | 1 | 24.17 | 0 | 24.17 | 0% | 0 | 0 | 24.17 | 24.17 | 0 | 24.17 | 1 | 24.17 | 0 | 24.17 | 0% | 0 | 0 | 24.17 | 24.17 | 0 | 24.17 | 1 | 24.17 | 0 | 24.17 | 0 | 0 | 0 | 24.17 | 24.17 | 0 | 24.17 | 1 | 24.17 | 0 | 24.17 | 0% | 0 | 0 | 24.17 | 24.17 | 0 | 24.17 | 2 | 48.34 | 0 | 48.34 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Wigton | Secure | Demand Constraint | 0 | 2.26 | 2.26 | 2.26 | 2.26 | 1 | 2.26 | 0 | 2.26 | 0% | 0 | 0 | 3.93 | 3.93 | 0 | 3.93 | 1 | 3.93 | 0 | 3.93 | 0% | 0 | 0 | 4.37 | 4.37 | 0 | 4.37 | 1 | 4.37 | 0 | 4.37 | 0 | 0 | 0 | 4.68 | 4.68 | 0 | 4.68 | 1 | 4.68 | 0 | 4.68 | 0% | 0 | 0 | 5.13 | 5.13 | 0 | 5.13 | 2 | 8.91 | 0 | 8.91 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0
Electricity North West Limited | Electricity North West Limited | Yealand | Restore | Demand Constraint | 0 | 3.36 | 3.36 | 0 | 3.36 | 1 | 3.36 | 0 | 3.36 | 0% | 0 | 0 | 3.36 | 3.36 | 0 | 3.36 | 2 | 6.36 | 0 | 6.3549 | 0.0805% | 0 | 0 | 3.36 | 3.36 | 0 | 3.36 | 2 | 6.36 | 0 | 6.3549 | 0.00080503 | 0 | 0 | 3.36 | 3.36 | 0 | 3.36 | 2 | 6.36 | 0 | 6.3549 | 0.0805% | 0 | 0 | 3.36 | 3.36 | 0 | 3.36 | 2 | 6.36 | 0 | 6.3549 | 0.0805% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0

## Dispatch
Tender Reference | Incident Reference | Product | Constraint Licence Area | Provider Licence Area | Incident location (Grid Supply Point) | Accepting Party | Flexible Unit Reference | Main Technology | Secondary Technology | Constraint Trigger | Constraint Management Zone Name | Maximum Connection Voltage | Dispatch Capacity (MW) | Dispatch Volume (MWh) | Dispatch Capacity (MVAr) | Dispatch Volume (MVArh) | Availability Fee (£/MW/hr) | Utilisation Price (£/MWh) | Service Fee (£/MWh) | Pricing Strategy | Date of Instruction (DD/MM/YYYY) | Time of Instruction (HH:MM) | Start Date of Instruction (DD/MM/YYYY) | Start Time of Instruction (HH:MM) | End Date of Instruction (DD/MM/YYYY) | End Time of Instruction (HH:MM) | Actual Duration of Dispatched Utility (HH:MM) | Accept Time (HH:MM) | Notice Time (HH:MM) | Expected Duration (HH:MM) (where applicable) | Notes

## Valid Values
Front Page |  | Procurement and Dispatch Tabs
ED Licensee or Group | Delivery Year | Product and Sub Parameter | Constraint Trigger | Technology | Dispatchable / Non-Dispatchable | Bid Outcome | Committed Contracts / Non-Committed Contracts | Connection Voltage (in kV) | Service Days
Advanced Electricity Networks Limited | 2021-2022 | Dynamic | Demand Constraint | Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste) | Dispatchable | Accepted and contracted | Firm | 240V | Monday
Aidien Limited | 2022-2023 | Reactive Power | Generation Constraint | Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | Non-dispatchable | Accepted contract pending | Non-firm | 6.6kV | Tuesday
Eastern Power Networks PLC | 2023-2024 | Restore | Demand and Generation Constraint | Biofuel - Landfill gas |  | Accepted not contracted |  | 11kV | Wednesday
Eclipse Power Networks Limited | 2024-2025 | Secure |  | Biofuel - Other |  | Partially accepted and contracted |  | 33kV | Thursday
Electricity North West Limited | 2025-2026 | Sustain |  | Biofuel - Sewage gas |  | Partially accepted and not contracted |  | 132kV | Friday
Energy Assets Networks Limited | 2026-2027 | Other |  | Biomass |  | Partially accepted contract pending |  | Aggregate | Saturday
ESP Electricity Limited | 2027-2028 | Operational Utilisation - 15 minute response time |  | Demand |  | Rejected - Reliability |  |  | Sunday
Fulcrum Electricity Assets Limited | 2028-2029 | Operational Utilisation - 2 minute response time |  | Fossil - Brown coal/lignite |  | Rejected - Cost
Harlaxton Energy Networks Limited | 2029-2030 | Operational Utilisation - Week ahead response |  | Fossil - Coal gas |  | Rejected - Insufficient Capacity
Independent Distribution Connections Specialists Limited | 2030-2031 | Operational Utilisation + Scheduled Availability - 2 minute response time |  | Fossil - Gas |  | Rejected - Other
Independent Power Networks Limited | 2031-2032 | Operational Utilisation + Scheduled Availability - Day ahead response |  | Fossil - Hard coal
Indigo Power Limited | 2032-2033 | Operational Utilisation + Variable Availability - 2 minute response time |  | Fossil - Oil
Last Mile Electricity Limited | 2033-2034 | Operational Utilisation + Variable Availability - 15 minute response time |  | Fossil - Oil shale
LEEP Electricity Networks Limited | 2034-2035 | Operational Utilisation + Variable Availability - Day ahead response |  | Fossil - Other
London Power Networks PLC | 2035-2036 | Operational Utilisation + Variable Availability - Week ahead response |  | Fossil - Peat
MUA Electricity Limited | 2036-2037 | Peak Reduction - N/A
Northern Powergrid | 2037-2038 | Scheduled Utilisation - Settlement Periods |  | Geothermal
Northern Powergrid (Northeast) PLC | 2038-2039 | Scheduled Utilisation - Specific Periods |  | Hydrogen
Northern Powergrid (Yorkshire) PLC | 2039-2040 |  |  | Nuclear
Optimal Power Networks Limited | 2040-2041 |  |  | Solar
Scottish and Southern Energy | 2041-2042 |  |  | Stored Energy (all stored energy irrespectve of the original energy source)
Scottish Hydro Electric Power Distribution PLC | 2042-2043 |  |  | Waste
Scottish Power Energy Networks | 2043-2044 |  |  | Water (flowing water or head of water)
South Eastern Power Networks PLC | 2044-2045 |  |  | Wind
Southern Electric Power Distribution PLC | 2045-2046 |  |  | Other
SP Distribution PLC | 2046-2047 |  |  | Data not available
SP Manweb PLC | 2047-2048
Stark Infra-Electricity Limited | 2048-2049
The Electricity Network Company Limited | 2049-2050
UK Power Distribution Limited
UK Power Networks
Utility Assets Limited
Vattenfall Networks Limited
National Grid Electricity Distribution
National Grid Electricity Distribution (East Midlands) PLC
National Grid Electricity Distribution (South Wales) PLC
National Grid Electricity Distribution (South West) PLC
National Grid Electricity Distribution (West Midlands) PLC
Note on H2: Reece Breen Begadon: Please add reasoning in notes column, where applicable and required