## Front Page
C31E Procurement and Use of Distribution Flexibility Services Annual Report - Supporting Data
Deadline | On or before 1 May following regulatory year of report
Submission location | Flexibility@ofgem.gov.uk
For further info contact | Natasha.Kumar@ofgem.gov.uk
Reporting Year | 2021-2022
ED Licensee or Group | Electricity North West Limited
Contact Name | Keith Evans
Contact Email | Flexible.contracts@enwl.co.uk
Procurement Tab | This tab is populated with ENWL's forward looking Procurement Statement
Dispatch Tab | This tab is populated with ENWL's backward looking Procurement Report
Note: this template has been issued as a single Excel Workbook.

## Data Dictionary
Tab | Item | Data type | Description
Procurement | Tender reference | Text | Unique reference of flexibility service tender. Where multi-year tenders occur, tender references can be input multiple times.
Procurement | Product | Text (select from valid values provided) | The main flexibility product that a service is being procured for. Note this list is not exhaustive and will be updated in line with industry updates.
Procurement | Licence area | Text (select from valid values provided) | Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Procurement | Service location (Grid Supply Point) | Text | The area within which a flexibility service is being procured. Information can be entered as a Grid Supply Point.
Procurement | Service Provider | Text | Name/identifier of the flexibility service provider.
Procurement | Constraint type | Text (select from valid values provided) | Pre-fault and post-fault constraint type for which a flexibility service is being procured, predominantly covering the CV1 (primary reinforcement) table.
Procurement | Constraint Management Zone Name | Text | Name of the Constraint Management Zone (CMZ) within which the flexibility service being procured occurs in.
Procurement | Maximum Connection Voltage | Decimal | The maximum voltage at which a connection occurs within a CMZ.
Procurement | Main technology | Text (select from valid values provided) | Main technology used against each tender reference against the G99 of the ECR.
Procurement | Secondary Technology (where applicable) | Text (select from valid values provided) | Main technology (where applicable) used against each tender reference against the G99 of the ECR.
Procurement | Dispatchable / non-dispatchable | Text (select from valid values provided) | Dispatchable: Refers to a flexible solution which can change output from its counterfactual level on DSO instruction closer to real-time. This will depend on the nature of the constraint e.g. demand constraints compared to generation constraints. Non-dispatchable: Refers to a flexible solution which cannot change output from its counterfactual level on DSO instruction closer to real-time. This will depend on the nature of the constraint e.g. demand constraints compared to generation constraints.
Procurement | Number of bids received | Decimal | Number of bids received for each tender reference.
Procurement | Bid outcome | Text (select from valid values provided) | Outcome of the bid under each tender reference for a flexibility service. It is important to cover bids that were not successful within this space to promote transparency and market participation.
Procurement | Flexible Unit reference | Text | A Distributed Energy Resource (DER) or notional DER consisting of two or more DERs. The Flexible Unit ID is a unique ID which links accepted bids to a specific Flexible Unit. The Flexible Unit ID allows dispatch to be linked to awarded contracts for increased transparency and understanding.
Procurement | Committed contracts / non-committed contracts | Text (select from valid values provided) | Firm: Committed contracts where flexibility providers commit to making a fixed level of capacity available for dispatch at the point of contracting for the duration of the contract. Non-firm: Non-committed contracts where flexibility providers can vary the capacity available for dispatch during the term of the contract
Procurement | Flexible Capacity (in MW) | Decimal | For firm contracts, this is a committed level of generation or consumption adjustment that can be delivered on request relative to their baseline generation or consumption level. For non-firm contracts, this is the maximum amount that the generation or consumption can be adjusted relative to an assumed baseline generation or consumption level.
Procurement | Flexible Capacity (in MVAr) | Decimal
Procurement | Maximum Run Time (hh:mm) | Time | hh:mm. The maximum time in minutes for which the solution can continuously deliver its flexible capacity. Where no restrictions apply, enter 9999. This gives an indication of the volume a DSO can dispatch when combined with Flexible Capacity.
Procurement | Response Time (hh:mm) | Time | hh:mm. The lead-time from the time of DSO instruction to full delivery of Flexible Capacity.
Procurement | Connection voltage (in kV) | Decimal | Voltage at which a connection is made. 'Aggregate' option includes scenarios where multiple voltages are being connected for each tender reference.
Procurement | Delivery Year | Text (select from valid values provided) | Regulatory year the delivery will take place in. Where multi-year contracts occur, a series of individual years should be input for improved granularity and transparency e.g. 5 year contract would be reported here as 5 separate lines. Can then see how MW, prices etc may change over duration of contract.
Procurement | Contract start | Date | dd/mm/yyyy. Date on which a contract is anticipated to start.
Procurement | Contract end | Date | dd/mm/yyyy. Date on which a contract is expected to end.
Procurement | Service days | Text (select from valid values provided) | Days on which a flexibility service is expected to be available. Hourly service windows can be provided in the Service Windows columns where appropriate.
Procurement | Service window 1 FROM (where applicable) | Time | hh:mm. Set hours under the defined service days where a flexibility service is expected to be available from. Complete column where appropriate.
Procurement | Service window 1 TO (where applicable) | Time | hh:mm. Set hours under the defined service days where a flexibility service is expected to be available until. Complete column where appropriate.
Procurement | Service window 2 FROM (where applicable) | Time | hh:mm. Where contract is for more than 1 service window per day, e.g. morning and evening. Complete column where appropriate.
Procurement | Service window 2 TO (where applicable) | Time | hh:mm. Where contract is for more than 1 service window per day, e.g. morning and evening. Complete column where appropriate.
Procurement | Availability Hours | Text | The number of hours for which the flexible solution will have availability for dispatch.
Procurement | Original availability fee bid (where applicable, in £/MW/hr) | Decimal | The original availability fee the flexibility requirement was set at within the tender rounds, at which bidding would initiate.
Procurement | Original utilisation fee bid (where applicable, in £/MWh) | Decimal | The original utilisation fee the flexibility requirement was set at within the tender rounds, at which bidding would initiate.
Procurement | Agreed availability fee (where applicable, in £/MW/hr) | Decimal | The agreed availability fee the flexibility requirement has won the bid at within the tender rounds.
Procurement | Agreed utilisation price (in £/MWh) | Decimal | The agreed utilisation fee the flexibility requirement has won the bid at within the tender rounds.
Procurement | Service fee (in £/MWh) | Decimal | The agreed service fee the flexibility requirement has won the bid at within the tender rounds.
Dispatch | Tender reference | Text | Unique reference of flexibility service tender. Where multi-year tenders occur, tender references can be input multiple times.
Dispatch | Incident reference | Text | Unique reference of incident for which a service was dispatched. Where multi-year tenders occur, incident references can be input multiple times. Where repetition occurs with other references and columns, leave field free.
Dispatch | Product | Text (select from valid values provided) | The main flexibility product for which a service was dispatched for. Note this list is not exhaustive and will be updated in line with industry updates.
Dispatch | Licence area | Text (select from valid values provided) | Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Dispatch | Incident location (Grid Supply Point) | Text | The area within which a flexibility service was dispatched. Information can be entered as a Grid Supply Point.
Dispatch | Accepting party | Text | Details of the accepting party for dispatched service.
Dispatch | Flexible Unit reference | Text | A Distributed Energy Resource (DER) or notional DER consisting of two or more DERs. The Flexible Unit ID is a unique ID which links accepted bids to a specific Flexible Unit. The Flexible Unit ID allows dispatch to be linked to awarded contracts for increased transparency and understanding.
Dispatch | Main technology | Text (select from valid values provided) | *Duplication from Procurement Tab for data consistency
Dispatch | Secondary technology | Text (select from valid values provided) | *Duplication from Procurement Tab for data consistency
Dispatch | Constraint type | Text (select from valid values provided) | Pre-fault and post-fault constraint type for which a flexibility service was dispatched, predominantly covering the CV1 (primary reinforcement) table.
Dispatch | Constraint Management Zone Name | Text | Name of the Constraint Management Zone (CMZ) within which the flexibility service being procured occurs in.
Dispatch | Maximum Connection Voltage | Decimal | The maximum voltage at which a connection occurs within a CMZ.
Dispatch | Dispatch capacity (MW) | Decimal | The flexible MW dispatched. Average MW for a profiled dispatch.
Dispatch | Dispatch volume (MWh) | Decimal | The total dispatch energy calculated as Dispatch Capacity x Total Duration (Column U)
Dispatch | Dispatch capacity (MVAr) | Decimal | The flexible MVAr dispatched. Average MVAr for a profiled dispatch.
Dispatch | Dispatch volume (MVArh) | Decimal | The total dispatch energy calculated as Dispatch Capacity x Total Duration (Column U)
Dispatch | Availability Price (£/MW/hr) | Decimal | The availability price the flexibility requirement was dispatched at.
| Utilisation Price (£/MWh) | Decimal | The utilisation price the flexibility requirement was dispatched at.
| Service Price (£/kW/year) | Decimal | The service price the flexibility requirement was dispatched at.
| Pricing Strategy | Text (limited to 50 characters) | Description of pricing strategy associated with pricing where possible, examples include but not limited to: fixed, ceiling price, clearing price, adjusted monthly.
Dispatch | Date of instruction (DD/MM/YYYY) | Date | dd/mm/yyyy. Defining the timing of dispatch. Gives indication of notice period together with Start field.
Dispatch | Time of instruction (HH:MM) | Time | hh:mm. Defining the timing of dispatch. Gives indication of notice period together with Start field.
Dispatch | Start date of instruction (DD/MM/YYYY) | Date | dd/mm/yyyy. Defining timing of dispatch and therefore network need.
Dispatch | Start Time of instruction (HH:MM) | Time | hh:mm. Defining timing of dispatch and therefore network need.
Dispatch | End date of instruction (DD/MM/YYYY) | Date | dd/mm/yyyy. Defining timing of dispatch and therefore network need.
Dispatch | End Time of instruction (HH:MM) | Time | hh:mm. Defining timing of dispatch and therefore network need.
Dispatch | Actual duration of dispatched utility (HH:MM) | Time | hh:mm. Actual duration of service defined within the service windows (dates and times) above.
Dispatch | Accept time (HH:MM) | Time | hh:mm. Actual time a dispatched utility was accepted.
Dispatch | Notice time (HH:MM) | Time | hh:mm. Actual time a notice of the dispatched utility was given.
Dispatch | Expected duration (HH:MM) (where applicable) | Time | hh:mm. Expected duration of a service being dispatched. Complete this column where applicable.
Dispatch | Notes | Text | Use notes sections within Procurement and Dispatch tabs to add any additional notes to do with tabs, data fields, or format of sheets.

## ProcurementandUseSummary
| Sustain | Secure | Dynamic | Restore | Reactive Power | Additional Products
| MW | MW | MW | MW | MVAr | Units
Delivery Year: 2021/22
Contracted in prior years (MW) | 0 | 0 | 3 | 0 | 0 | 0
Tendered in reporting year (MW) | 5.8 | 54.8 | 1.3 | 106.2 | 0 | 0
Contracted in reporting year (MW) | 0 | 0 | 0 | 0 | 0 | 0
Needs not met (MW) | 5.8 | 54.8 | 1.3 | 106.2 | 0 | 0
Dispatched in reporting year (MWh) | 0 | 0 | 0 | 0 | 0 | 0
Delivery Year: 2022/23
Contracted in prior years (MW) | 0 | 0 | 3.05 | 0 | 0 | 0
Tendered in reporting year (MW) | 6.9 | 123.3 | 37.7 | 106.2 | 0 | 0
Contracted in reporting year (MW) | 0 | 0 | 0.77 | 0 | 0 | 0
Needs not met (MW) | 6.9 | 123.3 | 37.1 | 106.2 | 0 | 0
Dispatched in reporting year (MWh) | 0 | 0 | 0 | 0 | 0 | 0
Delivery Year: 2023/24
Contracted in prior years (MW) | 0 | 0 | 0.1 | 0 | 0 | 0
Tendered in reporting year (MW) | 0 | 0 | 98.5 | 79.8 | 0 | 0
Contracted in reporting year (MW) | 0 | 0 | 0 | 0 | 0 | 0
Needs not met (MW) | 0 | 0 | 98.4 | 79.8 | 0 | 0
Dispatched in reporting year (MWh) | 0 | 0 | 0 | 0 | 0 | 0
Delivery Year: 2024/25
Contracted in prior years (MW) | 0 | 0 | 0 | 0 | 0 | 0
Tendered in reporting year (MW) | 0 | 0 | 0 | 0 | 0 | 0
Contracted in reporting year (MW) | 0 | 0 | 0 | 0 | 0 | 0
Needs not met (MW) | 0 | 0 | 0 | 0 | 0 | 0
Dispatched in reporting year (MWh) | 0 | 0 | 0 | 0 | 0 | 0
Delivery Year: 2025/26
Contracted in prior years (MW) | 0 | 0 | 0 | 0 | 0 | 0
Tendered in reporting year (MW) | 0 | 0 | 0 | 0 | 0 | 0
Contracted in reporting year (MW) | 0 | 0 | 0 | 0 | 0 | 0
Needs not met (MW) | 0 | 0 | 0 | 0 | 0 | 0
Dispatched in reporting year (MWh) | 0 | 0 | 0 | 0 | 0 | 0
Years added as required to reflect contracts

## Tender rounds summary
Tender reference | Licence area | Product | Participants | Tendered (MW/MVAr) | Contracted | Unmet
TT111017 - Flexibility Services Spring 2021 | Electricity North West Limited | Dynamic | 3 | 2.4MW | 1.58MW | 337.42MW
TT111017 - Flexibility Services Spring 2021 | Electricity North West Limited | Restore | 0 | 136MW | 0 | 136MW
TT111017 - Flexibility Services Spring 2021 | Electricity North West Limited | Secure | 2 | 187.50MW | 0 | 187.50MW
TT111017 - Flexibility Services Spring 2021 | Electricity North West Limited | Sustain | 0 | 12.29MW | 0 | 12.29MW
TT111045 - Flexibility Services Autumn 2021 | Electricity North West Limited | Restore | 0 | 57.9MW | 0 | 57.9MW
TT111045 - Flexibility Services Autumn 2021 | Electricity North West Limited | Dynamic | 2 | 201.1MW | 0.25 | 200.85MW

## Procurement - Locational
Licence area | Service location (Grid Supply Point) | Product | Constraint Type | Delivery Year 21/22 |  |  |  |  | Delivery Year 22/23 |  |  |  |  | Delivery Year 23/24 |  |  |  |  | Delivery Year 24/25 |  |  |  |  | Delivery Year 25/26
|  |  |  | Contracted in prior years (MW) | Tendered in reporting year (MW) | Contracted in reporting year (MW) | Remaining requirement (MW) | Dispatched (MWh) | Contracted in prior years (MW) | Tendered in reporting year (MW) | Contracted in reporting year (MW) | Remaining requirement (MW) | Dispatched (MWh) | Contracted in prior years (MW) | Tendered in reporting year (MW) | Contracted in reporting year (MW) | Remaining requirement (MW) | Dispatched (MWh) | Contracted in prior years (MW) | Tendered in reporting year (MW) | Contracted in reporting year (MW) | Remaining requirement (MW) | Dispatched (MWh) | Contracted in prior years (MW) | Tendered in reporting year (MW) | Contracted in reporting year (MW) | Remaining requirement (MW) | Dispatched (MWh)
Electricity North West Limited | Bold | dynamic | Post Fault, demand constraint – Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 5.2 | 0.05 | 5.15 | 0 | 0 | 10.1 | 0.05 | 10.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Bredbury GSP | dynamic | Post Fault, demand constraint – Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0.9 | 0 | 0 | 4.1 | 0 | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Carrington ENWL SGTs 1B 2B 4 7 | dynamic | Post Fault, demand constraint – Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 9 | 0 | 0 | 11.4 | 0 | 11.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Harker ENWL SGTs 1 2 3A 4 / Hutton GSP GROUP | dynamic | Post Fault, demand constraint – Load Management | 0 | 1.2 | 0 | 1.2 | 0 | 0.05 | 2.2 | 0.59 | 1.56 | 0 | 0 | 1.2 | 0 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Heysham GSP | dynamic | Post Fault, demand constraint – Load Management | 0 | 0.1 | 0 | 0.1 | 0 | 0 | 0.8 | 0 | 0.8 | 0 | 0 | 0.9 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Kearsley 132 GSP | dynamic | Post Fault, demand constraint – Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0.05 | 7.65 | 0 | 0 | 10.2 | 0.05 | 10.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Lower Darwen (BSP) | dynamic | Post Fault, demand constraint – Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 8.8 | 0 | 8.8 | 0 | 0 | 8 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Nelson (BSP) | dynamic | Post Fault, demand constraint – Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41.2 | 0 | 41.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Padiham GSP | dynamic | Post Fault, demand constraint – Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 1.8 | 0.05 | 1.75 | 0 | 0 | 3.7 | 0 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Penwortham West GSP / Stanah GSP GROUP | dynamic | Post Fault, demand constraint – Load Management | 3 | 0 | 0 | 0 | 0 | 3 | 0.6 | 0 | -2.4 | 0 | 0 | 1.2 | 0 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | South Manchester GSP | dynamic | Post Fault, demand constraint – Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 0.5 | 0 | 0 | 0.5 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Stalybridge GSP | dynamic | Post Fault, demand constraint – Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7 | 0 | 5.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Washway Farm GSP / Kirkby GSP GROUP | dynamic | Post Fault, demand constraint – Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0 | 0.2 | 0 | 0 | 0.3 | 0 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Bredbury GSP | restore | Post Fault, demand constraint – Restoration | 0 | 4.7 | 0 | 4.7 | 0 | 0 | 4.7 | 0 | 4.7 | 0 | 0 | 4.7 | 0 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Harker ENWL SGTs 1 2 3A 4 / Hutton GSP GROUP | restore | Post Fault, demand constraint – Restoration | 0 | 63 | 0 | 63 | 0 | 0 | 63 | 0 | 63 | 0 | 0 | 47.3 | 0 | 47.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Padiham GSP | restore | Post Fault, demand constraint – Restoration | 0 | 24.2 | 0 | 24.2 | 0 | 0 | 24.2 | 0 | 24.2 | 0 | 0 | 13.2 | 0 | 13.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Penwortham West GSP / Stanah GSP GROUP | restore | Post Fault, demand constraint – Restoration | 0 | 3.9 | 0 | 3.9 | 0 | 0 | 3.9 | 0 | 3.9 | 0 | 0 | 3.9 | 0 | 3.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Stalybridge GSP | restore | Post Fault, demand constraint – Restoration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3 | 0 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Washway Farm GSP / Kirkby GSP GROUP | restore | Post Fault, demand constraint – Restoration | 0 | 10.4 | 0 | 10.4 | 0 | 0 | 10.4 | 0 | 10.4 | 0 | 0 | 10.4 | 0 | 10.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Frederick Rd BSP | secure | Pre-fault, demand constraint – Normal Running | 0 | 9.3 | 0 | 9.3 | 0 | 0 | 63 | 0 | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Harker ENWL SGTs 1 2 3A 4 / Hutton GSP GROUP | secure | Pre-fault, demand constraint – Normal Running | 0 | 0.6 | 0 | 0.6 | 0 | 0 | 1.2 | 0 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Kearsley 132 GSP | secure | Pre-fault, demand constraint – Normal Running | 0 | 6 | 0 | 6 | 0 | 0 | 7.6 | 0 | 7.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Kearsley Local 33 GSP | secure | Pre-fault, demand constraint – Normal Running | 0 | 6.2 | 0 | 6.2 | 0 | 0 | 8.8 | 0 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Lower Darwen BSP | secure | Pre-fault, demand constraint – Normal Running | 0 | 9.3 | 0 | 9.3 | 0 | 0 | 11.4 | 0 | 11.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Penwortham West GSP / Stanah GSP GROUP | secure | Pre-fault, demand constraint – Normal Running | 0 | 8.6 | 0 | 8.6 | 0 | 0 | 8.8 | 0 | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | South Manchester GSP | secure | Pre-fault, demand constraint – Normal Running | 0 | 4.2 | 0 | 4.2 | 0 | 0 | 6 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Stalybridge GSP | secure | Pre-fault, demand constraint – Normal Running | 0 | 6 | 0 | 6 | 0 | 0 | 7.2 | 0 | 7.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Whitegate GSP | secure | Pre-fault, demand constraint – Normal Running | 0 | 4.6 | 0 | 4.6 | 0 | 0 | 7.2 | 0 | 7.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Wigan BSP | secure | Pre-fault, demand constraint – Normal Running | 0 | 0 | 0 | 0 | 0 | 0 | 2.1 | 0 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | Carrington ENWL SGTs 1B 2B 4 7 | sustain | Pre-fault, demand constraint – Normal Running | 0 | 0.9 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity North West Limited | South Manchester GSP | sustain | Pre-fault, demand constraint – Normal Running | 0 | 4.9 | 0 | 4.9 | 0 | 0 | 6.9 | 0 | 6.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Dispatch
Tender reference | Incident reference | Product | Licence area | Incident location (Grid Supply Point) | Accepting party | Flexible Unit Reference | Main technology | Secondary technology | Constraint Type | Constraint Management Zone Name | Maximum Connection Voltage | Dispatch capacity (MW) | Dispatch volume (MWh) | Dispatch capacity (MVAr) | Dispatch volume (MVArh) | Availability Price (£/MW/hr) | Utilisation Price (£/MWh) | Service Price (£/kW/year) | Pricing Strategy | Date of instruction (DD/MM/YYYY) | Time of instruction (HH:MM) | Start date of instruction (DD/MM/YYYY) | Start time of instruction (HH:MM) | End date of instruction (DD/MM/YYYY) | End time of instruction (HH:MM) | Actual duration of dispatched utility (HH:MM) | Accept time (HH:MM) | Notice time (HH:MM) | Expected duration (HH:MM) (where applicable) | Notes

## Valid Values
Front Page |  | Procurement and Dispatch Tabs
ED Licensee or Group | Reporting Year | Product | Constraint Type | Technology | Dispatchable/non-dispatchable | Bid Outcome | Committed contracts / non-committed contracts | Connection voltage (in kV) | Service Days
Eastern Power Networks Plc | 2021-2022 | Dynamic | Pre-fault, demand constraint – Normal Running | Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste) | Dispatchable | Accepted | Firm | 240V | Monday
Eclipse Power Networks Limited | 2022-2023 | Reactive Power | Pre-fault, demand constraint – Outage Conditions | Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | Non-dispatchable | Partially Accepted | Non-firm | 6.6kV | Tuesday
Electricity North West Limited | 2023-2024 | Restore | Post Fault, demand constraint – Load Management | Biofuel - Landfill gas |  | Rejected |  | 11kV | Wednesday
Energetics Electricity Limited | 2024-2025 | Secure | Post Fault, demand constraint – Restoration | Biofuel - Other |  | Rejected - Cost |  | 33kV | Thursday
Energy Assets Networks Limited | 2025-2026 | Sustain | Pre-fault, generation constraint – Normal Running | Biofuel - Sewage gas |  | Rejected - Insufficient Capacity |  | 132kV | Friday
ESP Electricity Limited | 2026-2027 | Other | Pre-fault, generation constraint – Outage Conditions | Biomass |  |  |  | Aggregate | Saturday
Forbury Assets Limited | 2027-2028 |  | Post Fault, generation constraint – Load Management | Demand |  |  |  |  | Sunday
Fulcrum Electricity Assets Limited | 2028-2029 |  | Post Fault, generation constraint – Restoration | Fossil - Brown coal/lignite
Harlaxton Energy Networks Limited | 2029-2030 |  | Other substation constraints | Fossil - Coal gas
Independent Power Networks Limited | 2030-2031 |  |  | Fossil - Gas
Indigo Power Limited | 2031-2032 |  |  | Fossil - Hard coal
Last Mile Electricity Limited | 2032-2033 |  |  | Fossil - Oil
Leep Electricity Networks Limited | 2033-2034 |  |  | Fossil - Oil shale
London Power Networks Plc | 2034-2035 |  |  | Fossil - Other
Murphy Power Distribution Limited | 2035-2036 |  |  | Fossil - Peat
Northern Powergrid | 2036-2037 |  |  | Geothermal
Northern Powergrid (Northeast) Limited | 2037-2038 |  |  | Hydrogen
Northern Powergrid (Yorkshire) Plc | 2038-2039 |  |  | Nuclear
Scottish and Southern Energy | 2039-2040 |  |  | Solar
Scottish Hydro Electric Power Distribution Plc | 2040-2041 |  |  | Stored Energy (all stored energy irrespectve of the original energy source)
ScottishPower Energy Networks | 2041-2042 |  |  | Waste
South Eastern Power Networks Plc | 2042-2043 |  |  | Water (flowing water or head of water)
Southern Electric Power Distribution Plc | 2043-2044 |  |  | Wind
SP Distribution Plc | 2044-2045 |  |  | Other
SP Manweb Plc | 2045-2046 |  |  | Data not available
The Electricity Network Company Limited | 2046-2047
UK Power Distribution Limited | 2047-2048
UK Power Networks | 2048-2049
Utility Assets Limited | 2049-2050
Vattenfall Networks Limited
Western Power Distribution
Western Power Distribution (East Midlands) Plc
Western Power Distribution (South Wales) Plc
Western Power Distribution (South West) Plc
Western Power Distribution (West Midlands) Plc