## Current Requirements
Substation Name | Post Codes | Voltage of connection (kV) | Maximum requirement (MVA) | Need Type | Delivery Start Date | Months required | Times required | Days Required | Estimated availability hours | Estimated utilisation hours | Ceiling price (Per Annum)
Alston | CA9 1 ,CA9 3 ,CA9 6 | 0.24/11kV | FY25: 1.50 FY26: 1.50 FY27: 1.50 FY28: 1.50 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £29,720 FY26: £29,720 FY27: £29,720 FY28: £29,720
Ardwick | M1 2 ,M1 6 ,M1 7 ,M12 4 ,M12 5 ,M12 6 ,M13 ,M13 0 ,M13 9 ,M14 4 ,M14 5 ,M15 4 ,M15 6 ,M19 9 ,M4 1 ,M60 7 | 0.24/11kV | W24/25: 0.70 W25/26: 1.00 W26/27: 1.46 W27/28: 1.77 | Operational Utilisation Variable Availability | 2024-12-01 | W24/25: Dec 24-Mar 25 W25/26: Nov 25-Mar 26 W26/27: Nov 26-Mar 27 W27/28: Nov 27-Mar 28 | W24/25: 10:00-19:30 W25/26: 09:30-20:00 W26/27: 09:00-21:00 W27/28: 09:00-21:00 | W24/25: Sun, Mon, Thu, Fri, Sat W25/26: Sun, Mon, Tue, Wed, Fri, Sat W26/27: Sun, Mon, Tue, Wed, Thu, Sat W27/28: Sun, Mon, Tue, Wed, Thu, Fri | W24/25: 54 W25/26: 110 W26/27: 270 W27/28: 414 | W24/25: 48 W25/26: 48 W26/27: 48 W27/28: 48 | W24/25: £226,903 W25/26: £226,679 W26/27: £226,039 W27/28: £225,463
|  |  |  | Peak Reduction |  |  |  |  | N/A | W24/25: 54 W25/26: 110 W26/27: 270 W27/28: 414
Askerton Castle | CA16 6 ,CA6 4 ,CA6 6 ,CA8 2 ,CA8 7 ,PR7 7 | 0.24/11kV | FY25: 1.30 FY26: 1.30 FY27: 1.30 FY28: 1.30 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £10,410 FY26: £10,410 FY27: £10,410 FY28: £10,410
Bentham | BL9 0 ,BL9 7 ,LA1 2 ,LA2 7 ,LA2 8 ,LA6 1 ,LA6 2 ,LA6 3 | 0.24/11kV | FY25: 4.00 FY26: 4.00 FY27: 4.00 FY28: 4.00 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £49,759 FY26: £49,759 FY27: £49,759 FY28: £49,759
Bolton By Bowland | BB5 2 ,BB7 2 ,BB7 3 ,BB7 4 ,BB7 6 ,BD23 3 ,BD23 4 | 0.24/11kV | FY25: 3.00 FY26: 3.00 FY27: 3.00 FY28: 3.00 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £22,745 FY26: £22,745 FY27: £22,745 FY28: £22,745
|  |  | W25/26: 0.22 W26/27: 0.32 W27/28: 0.41 | Operational Utilisation Variable Availability | 2025-12-01 | W25/26: Dec 25-Jan 26 W26/27: Dec 26-Jan 27 W27/28: Dec 27-Jan 28 | W25/26: 16:30-19:30 W26/27: 16:00-20:00 W27/28: 08:30-20:30 | W25/26: Sun, Mon, Tue, Wed, Thu, Fri W26/27: Everyday W27/28: Everyday | W25/26: 24 W26/27: 48 W27/28: 67 | W25/26: 24 W26/27: 48 W27/28: 48 | W25/26: £54,537 W26/27: £54,537 W27/28: £54,537
|  |  |  | Peak Reduction |  |  |  |  | N/A | W25/26: 24 W26/27: 48 W27/28: 67
Catterall Waterworks | PR1 1 ,PR2 8 ,PR3 0 ,PR3 1 | 0.24/11kV | FY25: 8.30 FY26: 8.30 FY27: 8.30 FY28: 8.30 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £14,804 FY26: £14,804 FY27: £14,804 FY28: £14,804
| PR1 1 ,PR2 8 ,PR3 0 ,PR3 1 | 0.24/11kV | W24/25: 3.18 S25: 3.48 W25/26: 3.31 S26: 3.58 W26/27: 3.41 S27: 3.74 W27/28: 3.56 | Operational Utilisation Variable Availability | 2024-11-01 | W24/25: Nov 24-Mar 25 S25: Apr 25-Sep 25 W25/26: Oct 25-Mar 26 S26: Apr 26-Sep 26 W26/27: Oct 26-Mar 27 S27: Apr 27-Sep 27 W27/28: Oct 27-Mar 28 | W24/25: 00:00-23:59 S25: 00:00-23:59 W25/26: 00:00-23:59 S26: 00:00-23:59 W26/27: 00:00-23:59 S27: 00:00-23:59 W27/28: 00:00-23:59 | W24/25: Everyday S25: Everyday W25/26: Everyday S26: Everyday W26/27: Everyday S27: Everyday W27/28: Everyday | W24/25: 2878 S25: 3266 W25/26: 3562 S26: 3368 W26/27: 3661 S27: 3510 W27/28: 3815 | W24/25: 200 S25: 300 W25/26: 300 S26: 300 W26/27: 300 S27: 300 W27/28: 300 | W24/25: £83,681 S25: £42,888 W25/26: £40,793 S26: £42,858 W26/27: £40,823 S27: £42,872 W27/28: £40,809
|  |  |  | Peak Reduction |  |  |  |  | N/A | W24/25: 2878 S25: 3266 W25/26: 3562 S26: 3368 W26/27: 3661 S27: 3510 W27/28: 3815
Chorley South | PR26 9 ,PR6 0 ,PR6 8 ,PR6 9 ,PR7 ,PR7 0 ,PR7 1 ,PR7 2 ,PR7 3 ,PR7 4 ,PR7 5 ,PR7 9 | 0.24/11kV | W26/27: 0.91 W27/28: 1.47 | Operational Utilisation Variable Availability | 2026-12-01 | W26/27: Dec 26-Jan 27 W27/28: Nov 27-Feb 28 | W26/27: 17:00-19:00 W27/28: 16:30-19:30 | W26/27: Sun, Mon, Tue, Wed, Fri, Sat W27/28: Everyday | W26/27: 24 W27/28: 59 | W26/27: 24 W27/28: 48 | W26/27: £15,129 W27/28: £15,129
|  |  |  | Peak Reduction |  |  |  |  | N/A | W26/27: 24 W27/28: 59
Church | BB5 0 ,BB5 1 ,BB5 2 ,BB5 4 ,BB5 5 ,BB5 6 | 0.24/11kV | FY25: 6.10 FY26: 6.10 FY27: 6.10 FY28: 6.10 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £86,625 FY26: £86,625 FY27: £86,625 FY28: £86,625
Claughton | LA1 1 ,LA2 0 ,LA2 6 ,LA2 7 ,LA2 8 ,LA2 9 | 0.24/11kV | FY25: 3.50 FY26: 3.50 FY27: 3.50 FY28: 3.50 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £39,158 FY26: £39,158 FY27: £39,158 FY28: £39,158
Coniston | LA12 8 ,LA20 6 ,LA20 8 ,LA21 3 ,LA21 8 ,LA22 0 ,LA22 9 | 0.24/11kV | FY25: 2.30 FY26: 2.30 FY27: 2.30 FY28: 2.30 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £29,760 FY26: £29,760 FY27: £29,760 FY28: £29,760
|  |  | W24/25: 0.64 S25: 0.58 W25/26: 0.75 S26: 0.65 W26/27: 0.81 S27: 0.74 W27/28: 0.92 | Operational Utilisation Variable Availability | 2024-11-01 | W24/25: Nov 24-Mar 25 S25: Apr 25-Sep 25 W25/26: Oct 25-Mar 26 S26: Apr 26-Sep 26 W26/27: Oct 26-Mar 27 S27: Apr 27-Sep 27 W27/28: Oct 27-Mar 28 | W24/25: 01:00-23:00 S25: 01:30-22:30 W25/26: 01:00-23:30 S26: 01:30-23:00 W26/27: 01:00-23:30 S27: 01:30-23:30 W27/28: 00:30-23:59 | W24/25: Everyday S25: Everyday W25/26: Everyday S26: Everyday W26/27: Everyday S27: Everyday W27/28: Everyday | W24/25: 1861 S25: 825 W25/26: 2374 S26: 1114 W26/27: 2665 S27: 1576 W27/28: 3051 | W24/25: 100 S25: 100 W25/26: 200 S26: 100 W26/27: 200 S27: 100 W27/28: 300 | W24/25: £81,806 S25: £35,675 W25/26: £46,131 S26: £36,420 W26/27: £45,386 S27: £36,468 W27/28: £45,338
|  |  |  | Peak Reduction |  |  |  |  | N/A | W24/25: 1861 S25: 825 W25/26: 2374 S26: 1114 W26/27: 2665 S27: 1576 W27/28: 3051
Flat Lane | BB7 4 ,BD ,BD23 1 ,BD23 3 ,BD23 4 ,BD23 6 ,BD24 0 ,BD24 9 ,LA2 8 | 0.24/11kV | FY25: 3.70 FY26: 3.70 FY27: 3.70 FY28: 3.70 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £45,188 FY26: £45,188 FY27: £45,188 FY28: £45,188
Frederick Rd BSP | M1 5 ,M15 4 ,M15 5 ,M15 6 ,M16 5 ,M16 6 ,M16 9 ,M2 7 ,M21 8 ,M22 5 ,M25 9 ,M3 1 ,M3 2 ,M3 3 ,M3 4 ,M3 5 ,M3 6 ,M3 7 ,M30 0 ,M30 9 ,M33 6 ,M4 3 ,M41 7 ,M5 ,M5 0 ,M5 2 ,M5 3 ,M5 4 ,M5 5 ,M5 9 ,M50 1 ,M50 2 ,M50 3 ,M6 4 ,M6 5 ,M6 6 ,M6 7 | 0.24/11kV | W26/27: 5.86 W27/28: 16.60 | Operational Utilisation Variable Availability | 2026-12-01 | W26/27: Dec 26-Jan 27 W27/28: Nov 27-Mar 28 | W26/27: 08:30-17:00 W27/28: 07:30-19:30 | W26/27: Sun, Mon, Tue, Wed, Sat W27/28: Sun, Mon, Tue, Wed, Thu | W26/27: 48 W27/28: 450 | W26/27: 48 W27/28: 48 | W26/27: £251,640 W27/28: £252,510
|  |  |  | Peak Reduction |  |  |  |  | N/A | W26/27: 48 W27/28: 450
Gillsrow | CA10 1 ,CA10 2 ,CA10 3 ,CA11 0 ,CA12 4 ,CA12 5 ,CA17 4 ,CA4 0 ,CA7 8 ,PR2 1 | 0.24/11kV | FY25: 3.70 FY26: 3.70 FY27: 3.70 FY28: 3.70 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £36,932 FY26: £36,932 FY27: £36,932 FY28: £36,932
Helwith Bridge | BD24 0 ,BD24 9 ,LA2 8 ,LA2 9 ,LA6 3 | 0.24/11kV | FY25: 3.30 FY26: 3.30 FY27: 3.30 FY28: 3.30 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £19,060 FY26: £19,060 FY27: £19,060 FY28: £19,060
Ingleton | LA2 7 ,LA2 8 ,LA6 ,LA6 1 ,LA6 2 ,LA6 3 | 0.24/11kV | FY25: 2.20 FY26: 2.20 FY27: 2.20 FY28: 2.20 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £32,597 FY26: £32,597 FY27: £32,597 FY28: £32,597
Marple | SK3 9 ,SK6 2 ,SK6 4 ,SK6 5 ,SK6 6 ,SK6 7 | 0.24/11kV | FY25: 4.40 FY26: 4.40 FY27: 4.40 FY28: 4.40 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £73,798 FY26: £73,798 FY27: £73,798 FY28: £73,798
Melling | LA2 7 ,LA2 8 ,LA2 9 ,LA5 8 ,LA6 1 ,LA6 2 ,LA6 3 ,LA6 7 | 0.24/11kV | FY25: 2.20 FY26: 2.20 FY27: 2.20 FY28: 2.20 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £25,760 FY26: £25,760 FY27: £25,760 FY28: £25,760
Moss Lane | BB12 8 ,BL9 8 ,BL9 9 ,M24 4 ,M25 1 ,M25 2 ,M25 3 ,M25 7 ,M25 9 ,M4 5 ,M45 ,M45 6 ,M45 7 ,M45 8 ,M46 7 ,M7 4 ,M8 9 ,OL10 2 | 0.24/11kV | W26/27: 0.34 W27/28: 0.81 | Operational Utilisation Variable Availability | 2026-11-01 | W26/27: Nov 26-Jan 27 W27/28: Nov 27-Feb 28 | W26/27: 17:00-19:00 W27/28: 16:30-19:30 | W26/27: Sun, Mon, Tue, Wed W27/28: Sun, Mon, Tue, Wed, Thu | W26/27: 24 W27/28: 48 | W26/27: 24 W27/28: 48 | W26/27: £132,955 W27/28: £138,277
|  |  |  | Peak Reduction |  |  |  |  | N/A
Moss Side (Leyland) & Seven Stars | PR25 3 ,PR26 6 ,PR26 7, PR25 1 ,PR25 2 ,PR25 4 ,PR25 9 ,PR26 8 ,PR26 9 ,PR4 1 ,PR5 1 ,PR5 3 ,PR7 5 ,PR7 6 | 0.24/11kV | W25/26: 0.80 W26/27: 1.29 W27/28: 1.63 | Operational Utilisation Variable Availability | 2025-11-01 | W25/26: Nov 25-Jan 26 W26/27: Nov 26-Jan 27 W27/28: Nov 27-Jan 28 | W25/26: 09:00-19:00 W26/27: 09:00-19:30 W27/28: 08:30-19:30 | W25/26: Sun, Mon, Fri, Sat W26/27: Sun, Mon, Tue, Wed, Sat W27/28: Sun, Mon, Tue, Wed, Thu | W25/26: 24 W26/27: 69 W27/28: 125 | W25/26: 24 W26/27: 48 W27/28: 48 | W25/26: £44,302 W26/27: £44,302 W27/28: £44,302
|  |  |  | Peak Reduction |  |  |  |  | N/A | W25/26: 24 W26/27: 69 W27/28: 125
Moss Side (Longsight) | M14 4 ,M14 5 ,M14 7 ,M15 ,M15 1 ,M15 4 ,M15 5 ,M15 6 ,M16 0 ,M16 7 ,M16 8 ,M16 9 ,M3 4 ,M40 0 ,OL6 7 | 0.24/11kV | W24/25: 18.4 W25/26: 18.4 W26/27: 18.4 W27/28: 18.4 | Operational Utilisation | 2024-11-01 | W24/25: Nov 24-Mar 25 W25/26: Oct 25-Mar 26 W26/27: Oct 26-Mar 27 W27/28: Oct 27-Mar 28 | All Day | Everyday | N/A | W24/25: 100 W25/26: 100 W26/27: 100 W27/28: 100 | W24/25: £204,730 W25/26: £204,730 W26/27: £204,730 W27/28: £204,730
|  |  | W24/25: 4.20 S25: 1.78 W25/26: 4.32 S26: 2.21 W26/27: 4.80 S27: 2.65 W27/28: 5.29 | Operational Utilisation Variable Availability |  | W24/25: Nov 24-Mar 25 S25: Apr 25-Apr 25 W25/26: Oct 25-Mar 26 S26: Apr 26-Sep 26 W26/27: Oct 26-Mar 27 S27: Apr 27-Sep 27 W27/28: Oct 27-Mar 28 | W24/25: 08:00-23:30 S25: 12:00-20:30 W25/26: 07:30-23:30 S26: 11:00-21:00 W26/27: 07:30-23:30 S27: 10:30-22:00 W27/28: 07:30-23:59 | W24/25: Everyday S25: Everyday W25/26: Everyday S26: Everyday W26/27: Everyday S27: Everyday W27/28: Everyday | W24/25: 1246 S25: 53 W25/26: 1359 S26: 80 W26/27: 1625 S27: 145 W27/28: 1896 | W24/25: 100 S25: 48 W25/26: 100 S26: 48 W26/27: 100 S27: 48 W27/28: 100 | W24/25: £9,696 S25: £2,829 W25/26: £6,866 S26: £3,057 W26/27: £6,639 S27: £3,236 W27/28: £6,460
|  |  |  | Peak Reduction |  |  |  |  | N/A | W24/25: 1246 S25: 53 W25/26: 1359 S26: 80 W26/27: 1625 S27: 145 W27/28: 1896
Newbiggin on Lune | CA10 3 ,CA17 4 ,LA10 5 | 0.24/11kV | FY25: 1.10 FY26: 1.10 FY27: 1.10 FY28: 1.10 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £12,263 FY26: £12,263 FY27: £12,263 FY28: £12,263
Newby | CA10 1 ,CA10 2 ,CA10 3 ,CA11 0 ,CA11 9 ,CA15 6 ,CA16 ,CA16 6 ,CA17 4 ,CA20 2 | 0.24/11kV | FY25: 5.40 FY26: 5.40 FY27: 5.40 FY28: 5.40 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £59,906 FY26: £59,906 FY27: £59,906 FY28: £59,906
Peel St | BB18 5 ,BB7 1 ,BB7 2 ,BB7 3 ,BB7 4 ,BB7 9 ,BB9 6 | 0.24/11kV | W25/26: 0.22 W26/27: 0.67 W27/28: 0.99 | Operational Utilisation Variable Availability | 2025-11-01 | W25/26: Nov 25-Mar 26 W26/27: Nov 26-Mar 27 W27/28: Nov 27-Mar 28 | W25/26: 10:30-18:00 W26/27: 09:30-18:30 W27/28: 09:00-19:00 | W25/26: Sun, Mon, Tue, Thu, Sat W26/27: Sun, Mon, Tue, Wed, Thu, Fri W27/28: Everyday | W25/26: 24 W26/27: 160 W27/28: 386 | W25/26: 24 W26/27: 48 W27/28: 48 | W25/26: £30,447 W26/27: £43,407 W27/28: £43,407
|  |  |  | Peak Reduction |  |  |  |  | N/A | W25/26: 24 W26/27: 160 W27/28: 386
Rossall | FY7 7 ,FY7 8 | 0.24/11kV | FY25: 3.90 FY26: 3.90 FY27: 3.90 FY28: 3.90 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £19,474 FY26: £19,474 FY27: £19,474 FY28: £19,474
Scarisbrick | L39 3 ,L39 7 ,L39 8 ,L40 8 ,L40 9 ,PR8 ,PR8 4 ,PR8 5 ,PR8 8 ,PR9 8 ,WA4 1 | 0.24/11kV | FY25: 3.70 FY26: 3.70 FY27: 3.70 FY28: 3.70 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £33,878 FY26: £33,878 FY27: £33,878 FY28: £33,878
Sebergham | CA11 9 ,CA2 5 ,CA20 1 ,CA4 0 ,CA4 8 ,CA5 1 ,CA5 6 ,CA5 7 ,CA7 1 ,CA7 8 ,CA7 9 ,CA8 9 | 0.24/11kV | FY25: 3.80 FY26: 3.80 FY27: 3.80 FY28: 3.80 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £27,001 FY26: £27,001 FY27: £27,001 FY28: £27,001
Sedbergh | LA10 5 ,LA6 2 ,LA8 0 ,LA8 9 | 0.24/11kV | FY25: 4.10 FY26: 4.10 FY27: 4.10 FY28: 4.10 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £50,311 FY26: £50,311 FY27: £50,311 FY28: £50,311
Settle | BD24 0 ,BD24 4 ,BD24 9 ,LA2 8 | 0.24/11kV | FY25: 4.40 FY26: 4.40 FY27: 4.40 FY28: 4.40 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £52,064 FY26: £52,064 FY27: £52,064 FY28: £52,064
|  |  | W24/25: 0.59 W25/26: 0.69 W26/27: 0.80 W27/28: 0.89 | Operational Utilisation Variable Availability | 2024-11-01 | W24/25: Nov 24-Mar 25 W25/26: Nov 25-Mar 26 W26/27: Nov 26-Mar 27 W27/28: Nov 27-Mar 28 | W24/25: 08:30-19:00 W25/26: 08:00-20:00 W26/27: 08:00-20:00 W27/28: 07:30-20:30 | W24/25: Sun, Mon, Tue, Thu, Fri, Sat W25/26: Everyday W26/27: Everyday W27/28: Everyday | W24/25: 103 W25/26: 182 W26/27: 266 W27/28: 360 | W24/25: 48 W25/26: 48 W26/27: 48 W27/28: 48 | W24/25: £43,407 W25/26: £43,407 W26/27: £43,407 W27/28: £43,407
|  |  |  | Peak Reduction |  |  |  |  | N/A | W24/25: 103 W25/26: 182 W26/27: 266 W27/28: 360
Yealand | LA1 9 ,LA5 0 ,LA5 9 ,LA6 1 ,LA6 3 ,LA7 7 | 0.24/11kV | FY25: 3.00 FY26: 3.00 FY27: 3.00 FY28: 3.00 | Operational Utilisation | 2024-11-01 | FY25: Nov 24-Mar 25 FY26: Apr 25-Mar 26 FY27: Apr 26-Mar 27 FY28: Apr 27-Mar 28 | All Day | Everyday | N/A | FY25: 100 FY26: 100 FY27: 100 FY28: 100 | FY25: £26,567 FY26: £26,567 FY27: £26,567 FY28: £26,567

## Future Requirements
Substation Name | Need Type | Comments | More information | Easting | Northing | Lat | Long
Alston | Scheduled Utilisation | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 374398 | 541962 | 54.7719 | -2.3995
Ardwick | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 385075.5385 | 396761.8083 | 53.4674 | -2.2263
Ashton (Golborne) | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 356796 | 400196 | 53.4967 | -2.6527
Askam & Dalton | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 321557 | 477800 | 54.1899 | -3.2037
Askam & Dalton | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 321557 | 477800 | 54.1899 | -3.2037
Atherton BSP | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 366126 | 402052 | 53.514 | -2.5123
Atherton Town Centre | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 367536 | 403331 | 53.5256 | -2.4912
Baguley | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 380561 | 389016 | 53.3976 | -2.2938
Blackfriars | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 383065.8708 | 399476.7444 | 53.4917 | -2.2567
Blackfriars | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 383065.8708 | 399476.7444 | 53.4917 | -2.2567
Bollington | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 393020 | 377845 | 53.2975 | -2.1062
Bolton By Bowland | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 375035 | 453653 | 53.9783 | -2.3821
Botany Bay | Scheduled Utilisation | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 359421 | 418852 | 53.6646 | -2.6156
Carlisle BSP | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 338546 | 560270 | 54.9333 | -2.9606
Central Manchester | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 384867 | 397717 | 53.476 | -2.2295
Claughton | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 355869 | 466286 | 54.0906 | -2.6762
Coniston | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 328631 | 494295 | 54.3392 | -3.0992
Coniston | Scheduled Utilisation | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 328631 | 494295 | 54.3392 | -3.0992
Crown Lane | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 362689 | 410864 | 53.593 | -2.5652
Easton | Scheduled Utilisation | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 343200 | 571718 | 55.0367 | -2.8903
Egremont | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 301074 | 513071 | 54.5033 | -3.5292
Flat Lane | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 383221 | 456981 | 54.0086 | -2.2575
Gillsrow | Scheduled Utilisation | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 338715 | 524017 | 54.6076 | -2.9503
Golborne | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 361580 | 398184 | 53.479 | -2.5804
Gowhole | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 401116 | 383844 | 53.3515 | -1.9847
Hanging Bridge | Scheduled Utilisation | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 346182 | 417468 | 53.6509 | -2.8157
Harwood | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 374061 | 410935 | 53.5943 | -2.3934
Hattersley | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 398446 | 395114 | 53.4528 | -2.0249
Heaton Norris | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 388867 | 391954 | 53.4243 | -2.169
Kendal BSP | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 351923 | 491837 | 54.3198 | -2.7406
Lancaster | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 348615 | 463627 | 54.066 | -2.7866
Lancaster BSP | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 348615 | 463633 | 54.0661 | -2.7866
Little Hulton | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 372008 | 403817 | 53.5303 | -2.4238
Mintsfeet | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 351815 | 494314 | 54.3421 | -2.7427
Monsall |  | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 386358 | 401011 | 53.5056 | -2.2072
Morton Park & Pirelli | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 337813 | 553948 | 54.8764 | -2.9707
Morton Park & Pirelli | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 337813 | 553948 | 54.8764 | -2.9707
Moss Lane | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 380871 | 405872 | 53.5491 | -2.2902
Moss Side (Longsight) | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 384023 | 395882 | 53.4594 | -2.2421
Peel St | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 374461 | 441511 | 53.8692 | -2.3899
Queens Park | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 385437 | 400870 | 53.5043 | -2.221
Ribblesdale T13 & T14 | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 374749 | 443563 | 53.8876 | -2.3857
Romiley | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 393642 | 390706 | 53.4131 | -2.0971
Sebergham | Scheduled Utilisation | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 335325 | 542645 | 54.7745 | -3.0069
Upholland | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 352522 | 404359 | 53.5337 | -2.7178
Victoria Park | Scheduled Utilisation | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 385370 | 395969 | 53.4603 | -2.2218
West Didsbury BSP | Scheduled Utilisation | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 382868 | 393274 | 53.436 | -2.2593
Whalley Range | Scheduled Utilisation | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 382907 | 394635 | 53.4482 | -2.2588
Whasset | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 350643 | 481462 | 54.2265 | -2.7586
Whasset | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 350643 | 481462 | 54.2265 | -2.7586
Wigan BSP | Scheduled Utilisation | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 358362 | 404605 | 53.5364 | -2.6297
Wigton | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 3-5 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 325832 | 549932 | 54.8387 | -3.1563
Wigton | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 325832 | 549932 | 54.8387 | -3.1563
Yealand | Operational Utilisation Variable Availability | This site is forecasted to require flexible services in the next 5-10 years. However this is not guaranteed and will be subject to future capacity reviews. Exact location data will be confirmed if and when we publish an ITT for this site. | https://www.enwl.co.uk/get-connected/network-information/network-development-plan/ | 351889 | 475821 | 54.1759 | -2.7386