| Form A1-2 : Application for connection of Fully Type Tested Generation under the Small Generation Installation Procedures For Small Generation Installation Procedures 2 or 3, this simplified application form can be used where all of the following eligibility conditions are met: - The new and existing Generating Units are located in a single Generator’s Installation; - The Intrinsic Design Capacity (IDC) of each new and existing Generating Unit is no more than 32 A; - All of the Generating Units (including Electricity Storage devices) are connected via EREC G98 or EREC G99 Fully Type Tested inverters;20 - The total aggregate Registered Capacities of all the Generating Units (including Electricity Storage devices) is less than 60 A per phase; and - Where required by the relevant Small Generation Installation procedure SGI-2 or SGI-3, an EREC G100 compliant export limitation scheme is present that limits the export from the Generator’s Installation to the Distribution Network; DNOs may have their own forms; refer to the DNO’s websites and online application tools. The application should include the Manufacturer’s reference number (the system reference) from the ENA Type Test Verification Report Register. If all the eligibility conditions apply the DNO will confirm that the installation can proceed. The planned commissioning date stated on the application shall be between 10 working days and 3 months from the date the application is submitted. On completion of the installation the Installer shall submit the commissioning sheets, as required in EREC G100 alongside the EREC G99 forms. |  |
| --- | --- |
| To ABC electricity distribution DNO 99 West St, Imaginary Town, ZZ99 9AA abced@wxyz.com |  |
| Generator details: |  |
| Generator (name) |  |
| Address |  |
| Post Code |  |
| Contact person (if different from Generator) |  |
| Telephone number |  |

—————————

20 Or Type Tested to EREC G83 or G59 where the Generating Unit was connected prior to 27 April 2019.

| E-mail address |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MPAN(s) |  |  |  |  |  |  |  |  |  |
| Installer details: |  |  |  |  |  |  |  |  |  |
| Installer |  |  |  |  |  |  |  |  |  |
| Accreditation / Qualification |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |
| Post Code |  |  |  |  |  |  |  |  |  |
| Contact person |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  |  |  |  |  |  |  |
| E-mail address |  |  |  |  |  |  |  |  |  |
| Installation details: |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |
| Post Code |  |  |  |  |  |  |  |  |  |
| MPAN(s) |  |  |  |  |  |  |  |  |  |
| Details of existing Generating Units – where applicable: |  |  |  |  |  |  |  |  |  |
| Manufacturer | Approximate Date of Installation | Energy source and energy conversion technology (enter codes from tables 1 and 2 below form) | Manufacturer’s Ref No. where available |  | Generating Unit Intrinsic Design Capacity & Registered Capacity (kW)* |  |  |  | Energy storage capacity for Electricity Storage devices (kWh) |
|  |  |  |  |  | 3 -phase units |  | Single Phase Units |  |  |
|  |  |  |  |  | IDC | RC | IDC | RC |  |

| Details of proposed additional Generating Unit(s) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Manufacturer | Approximate Date of Installation | Energy source and energy conversion technology (enter codes from tables 1 and 2 below) | Manufacturer’s Ref No. where available | Generating Unit Intrinsic Design Capacity & Registered Capacity (kW)* |  |  |  | Energy storage capacity for Electricity Storage devices (kWh) |
|  |  |  |  | 3-phase units |  | Single Phase Units |  |  |
|  |  |  |  | IDC | RC | IDC | RC |  |
| Details of Export Limitation Scheme |  |  |  |  |  |  |  |  |
| Where an export limitation scheme is required by SGI-2 or SGI-3 please state export limit setting in amps. |  |  |  |  |  |  |  |  |
| Please confirm all of the statements are true by ticking each box: |  |  |  |  |  |  |  |  |
| The Generating Unit(s) is located in a single Generator’s Installation. |  |  |  |  |  |  |  |  |
| The Intrinsic Design Capacity of each new and existing Generating Unit is no more than 32 A. |  |  |  |  |  |  |  |  |
| All of the Generating Units (including Electricity Storage devices) are connected via EREC G99 or G98 Type Tested Inverters (or EREC G59 or G83 Type Tested Inverters, where the Power Generating Unit was installed prior to 27 April 2019) |  |  |  |  |  |  |  |  |
| The total aggregate Registered Capacity of the Generating Units (including Electricity Storage devices) is no more than 60 A per phase. |  |  |  |  |  |  |  |  |
| An EREC G100 compliant export limitation scheme is present that limits the export from the Generator’s Installation to the Distribution Network if required by SGI-2 or SGI-3. |  |  |  |  |  |  |  |  |
| The following information should be submitted with the application: |  |  |  |  |  |  |  |  |
| Copy of single line diagram of export limitation scheme |  |  |  |  |  |  |  |  |
| Explanation / description of the EREC G100 export limitation scheme operation including a description of the fail-safe functionality, ie the response of the scheme following failure of any component or device of the fail-safe system, or following any loss of communication between the components and devices of the scheme. |  |  |  |  |  |  |  |  |

| Note, fail-safe tests are not required at installations where all Generating Units are EREC G83 or EREC G98 Type Tested, aggregated capacity is not more than 32 A per phase and export capacity is limited to 16 A per phase. |  |  |
| --- | --- | --- |
| Additional details: |  |  |
| Target date for provision of connection / commissioning of new Generating Units devices:** |  |  |
| EREC G100 compliance declaration / EREC G100 Type Test reference as applicable: |  |  |
| Signed : |  | Date : |
| Use continuation sheet where required. * Record Generating Unit Registered Capacity kW at 230 AC, to one decimal place, under PH1 for single phase supplies and under the relevant phase for two and three phase supplies. **The planned commissioning date shall be at least 10 working days from the date of application but not more than 3 months in advance (connection offers are only valid for 3 months). |  |  |