{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Settings request"],"not_rendered":{"charts":0,"images":2,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Settings request","index":0,"n_rows":55,"n_cols":23,"rows_kept":55,"cut":false,"hidden":false,"merged":[[46,1,48,7],[46,10,48,18],[49,1,51,7],[49,10,51,18],[38,0,40,0],[38,1,40,7],[38,10,40,16],[38,17,40,18],[41,0,41,18],[45,0,45,18],[32,0,34,0],[32,1,34,9],[32,12,34,14],[32,17,34,18],[35,0,37,0],[35,1,37,7],[35,10,37,16],[35,17,37,18],[29,0,31,0],[29,1,31,7],[30,11,30,12],[12,1,12,9],[12,10,12,16],[23,1,23,7],[23,11,23,12],[25,1,25,9],[25,10,25,18],[27,0,27,19],[14,13,14,14],[17,11,17,12],[17,13,17,14],[20,11,20,12],[20,13,20,14],[52,1,52,17],[0,7,0,19],[1,3,3,10],[1,16,3,19],[6,0,6,19],[7,1,7,9],[7,10,8,18],[9,1,9,9],[9,10,9,18],[10,1,10,9],[10,10,10,18],[11,1,11,9],[11,10,11,18],[12,17,12,18],[14,1,22,7],[14,11,14,12]]}
[null,null,null,null,null,null,null,"Information Required to Calculate the Protection Settings for Equipment to be adopted or Protected by SP Electricity North West"]
[]
["Project Title:-",null,null,null,null,null,null,null,null,null,null,null,null,"Project No:-"]
[]
[]
[]
["Information Provided by the Independent Connection Provider or customer"]
[1,"Make & Type of Metered CB (to be adopted by SP ENWL, e.g. Scheider RN2D, RN6D, Lucy Sabre)"]
[]
[2,"Protection CT ratio(s) (e.g. 800/400/1 or 200/1)"]
[3,"Customers MIC  (Import Capacity)"]
[4,"Customers MEC  (Export Capacity)"]
[5,"Details of any customers private HV protection - (If no HV protection state 'NONE')",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"(If  'none' please go to  section 7)"]
[]
[6,"Customer preferred settings for private HV switchgear (if applicable). \n\nNot essential, but Electricity North West will endeavour to accommodate these settings to provide discrimination with our metering VCB.  If not provided you may need to revise your settings if grading is unsatisfactory.",null,null,null,null,null,null,null,null,"    o/c =",null,null,"amps",null,"T/M=",null,"Curve = (SI,VI,EI)"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,"o/c>> =",null,null,"amps",null,"t (s) ="]
[]
[]
[null,null,null,null,null,null,null,null,null,null,"e/f =",null,null,"amps",null,"T/M=",null,"Curve = (SI,VI,EI)"]
[]
[]
[null,"Additional sheets attached? Y/N",null,null,null,null,null,null,null,null,"e/f>> =",null,null,null,null,"t (s) ="]
[]
[7,"Nameplate rating of customers transformer(s)"]
[]
["If no customer HV protection we also require the following additional information (sections 8-11):"]
[]
[8,"Transformer rated impedance"]
[null,null,null,null,null,null,null,null,null,null,"   Z%   ",null,null,null,null,"R",null,"X"]
[]
[9,"Does the transformer have transformer mounted protection (ACB. MCCB etc) ",null,null,null,null,null,null,null,null,null,null,"If 'yes' go to section 11",null,null,null,null,"If 'NO' complete sections10-11"]
[null,null,null,null,null,null,null,null,null,null,"Yes",null,null,null,null,"   No"]
[]
[10,"Details of LV Transformer tails to be protected by ENW metering VCB",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Length, CSA, Cu or AL, insulation, No / Ø,  Ω/km"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null," "]
[11,"Details of the customers main LV incoming protection & preferred settings if available.",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"inc full specification"]
[]
[]
["PLEASE ENSURE YOU INCLUDE A SINGLE LINE DIAGRAM WITH THE ABOVE INFORMATION  \n(This should include HV cable types, CSA and length)"]
[]
[]
[]
["Information to be provided by SP Electricty North West Project Engineer"]
[null,"Supplying Primary Substation"]
[]
[]
[null,"Substation name and number"]
[]
[]
[null,"Request for Protection settings can only be submitted 10 weeks before energisation\nPlease complete this Protection settings proforma form and return to cic@enwl.co.uk along with:\nSingle line diagram\nType and model of relay installed.\nProposed energisation date \nPlease include the project 55 reference number in the subject header "]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"                                                                                                                                                                                                                                                                                                                                           "]