appendix a

Conductors for new or refurbished line construction:
specific requirements

A1	plain Stranded Aluminium Alloy conductors

| Approved Description (for purchasing and product labelling) | Conductor Specification* | Conductor Greasing ENA ER L38 | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, AAAC, 300mm2 (Upas) (37/3.53) | BS EN 50182 | Cat 3 |  | 013920 |  |
| Conductor, AAAC, 500mm2 (Rubus) (61/3.50) | BS EN 50182 | Cat 3 |  | 013230 |  |
| * Individual wires shall comply with the appropriate specification as listed under Technical Particulars. |  |  |  |  |  |

A2	Stranded Aluminium (Steel reinforced)

| Approved Description (for purchasing and product labelling) | Conductor Specification* | Conductor Greasing ENA ER L38 | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, ACSR, 70mm2 (Horse) (12/2.79+7/2.79) ** | BS EN 50182 | Cat 3 |  | 013854 |  |
| Conductor, ACSR, 175mm2 (Lynx) (30/2.79+7/2.79) | BS EN 50182 | Cat 3 |  | 013927 |  |
| * Individual wires shall comply with the appropriate specification as listed under Technical Particulars. ** 70mm2 (Horse) shall be used for earth wire only (ie it shall not be used for phase conductor). |  |  |  |  |  |

A3	Stranded Aluminium Alloy (Steel reinforced)

| Approved Description (for purchasing and product labelling) | Conductor Specification* | Conductor Greasing ENA ER L38 | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, AACSR, 175mm2 (Keziah) (30/2.79+7/2.79) | BS EN 50182 | Cat 3 |  | 013936 |  |
| * Individual wires shall comply with the appropriate specification as listed under Technical Particulars. |  |  |  |  |  |

This page is intentionally left blank

(for formatting during double sided printing)

Appendix B

Conductors for repair only:
specific requirements

B1	plain Stranded Hard Drawn Copper conductors

| Approved Description (for purchasing and product labelling) | Conductor Specification | Conductor Greasing | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, HDCu, 70mm2 (7/3.55) | BS 7884 | N/A |  | 013196 |  |
| Conductor, HDCu, 100mm2 (7/4.30) | BS 7884 | N/A |  | 013199 |  |
| Conductor, HDCu, 125mm2 (19/2.90) | BS 7884 | N/A |  | 013210 |  |
| Conductor, HDCu, 150mm2 (19/3.20) | BS 7884 | N/A |  | 013220 |  |

B2	Stranded Aluminium (Steel reinforced)

| Approved Description (for purchasing and product labelling) | Conductor Specification* | Conductor Greasing ENA ER L38 | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, ACSR, 75mm2 (Racoon) (6/4.10+1/4.10) | BS EN 50182 | Cat 3 |  | 013678 |  |
| Conductor, ACSR, 100mm2 (Dog) (6/4.72+7/1.57) | BS EN 50182 | Cat 3 |  | 013862 |  |
| Conductor, ACSR, 400mm2 (Zebra) (54/3.18+7/3.18) | BS EN 50182 | Cat 3 |  | 013870 |  |
| * Individual wires shall comply with the appropriate specification as listed under Technical Particulars. |  |  |  |  |  |

This page is intentionally left blank

(for formatting during double sided printing)

16/01/14

Appendix c

product confirmation of compliance schedules

TENDERER………………..				TABLE 1

CONDUCTOR:

ELECTRICAL AND MECHANICAL TESTS (SPECIFY BS):

SAMPLE NO AND LOCATION:

|  | Aluminium / Copper |  |  |  |  |  | Steel Wire |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Stranded as Rec. | Dia Cleaned | Measured Resistance at 20 C | Breaking Load | Wrapping Test | Torsion Test (Twists) | Strand Dia. | Tensile Strength | Stress at 1% Elongation | Elongation 200 mm Gauge Length % | Wrapping Test |
| 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24 25 26 27 28 29 30 |  |  |  |  |  |  |  |  |  |  |  |

BS CRITERIA:					BS CRITERIA	
Minimum specified diameter	:		Minimum specified diameter:	
Maximum specified resistance:		Minimum tensile strength:	
   Outer strands  (1-18)			Minimum stress at 1% elongation:	
   Inner strands  (19-30)			Minimum elongation:	
Minimum specified breaking loads	:

TENDERER………………..		TABLE 2

CONDUCTOR DETAILS  (To be completed by Tenderer for each conductor/size tendered for)

| Item Number |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Conductor Size |  |  |  |  |  |  |  |  |
| Conductor Stranding |  |  |  |  |  |  |  |  |
| Conductor Material |  |  |  |  |  |  |  |  |
| U.T.S. | (N) |  |  |  |  |  |  |  |
| Diameter | (mm) |  |  |  |  |  |  |  |
| Bare Weight | (Kg/m) |  |  |  |  |  |  |  |
| Greased Weight | (Kg/m) |  |  |  |  |  |  |  |
| Cross Sectional Area | (Sq.mm) |  |  |  |  |  |  |  |
| Modulus of Elasticity | (N/Sq.mm) |  |  |  |  |  |  |  |
| Coefficient of Linear Exp. | (deg C) |  |  |  |  |  |  |  |