## Notes
Profiles generated in work by DELTA EE from the project 'Managing the future network impact of electrification of heat'
http://www.enwl.co.uk/about-us/the-future/nia-lcnf-tier-1/demand-scenarios
Timing of demand for heat.
During the week, we assume that homes need to be ‘warm’ between 07:00 – 09:00 and then from 16:00 – 23:00 (2 periods). At the weekend, this requirement is continuous from 07:00 – 23:00 (1 period). In the building physics model, we define ‘comfort’ temperatures (i.e. the temp that the occupier wants) for different rooms at different times of the day – and then the heat pump operates as required the reach and then maintain this comfort temp
The analysis in the final report uses the 2 period weekday profiles as most representative.
See DECC assessment of heating controls impact on domestic energy demand (2014) - suggesting 80% of homes have two heating periods.
The two period profiles also have the most significant impact on evening peak demand, when other loads are high, so will indicate likely local network impact.

## Diversified profile - 2 period
Diversified, 'Winter Peak' in an average winter
(kW) | [49 empty] | Load profile (W)
Heat pump - house type | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30 | 24:00 |  | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30 | 24:00
Hybrid HP in detached | 0 | 0 | 0.25061 | 0.1364 | 0.057467 | 0.14653 | 0.1097 | 0.14851 | 0.28754 | 0.66457 | 0.6212 | 0.72533 | 1.0515 | 1.1168 | 1.5846 | 1.4257 | 0.94336 | 0.46786 | 0 | 0.0007595 | 0.0033966 | 0.11759 | 0.12257 | 0.12878 | 0.13536 | 0.032184 | 0.1445 | 0.73978 | 1.3381 | 1.9037 | 2.343 | 2.3162 | 2.2624 | 2.0223 | 1.7761 | 1.6754 | 1.4129 | 1.3339 | 1.3911 | 1.2477 | 1.2082 | 1.1922 | 1.1707 | 0.83248 | 0.58902 | 0.34735 | 0 | 0 | Hybrid HP in detached | 0 | 0 | 250.6101 | 136.3976 | 57.4675 | 146.5253 | 109.6975 | 148.5076 | 287.5399 | 664.5736 | 621.1958 | 725.329 | 1051.5123 | 1116.7552 | 1584.6196 | 1425.6881 | 943.3598 | 467.8644 | 0 | 0.7595 | 3.3966 | 117.5889 | 122.5719 | 128.7765 | 135.3576 | 32.1841 | 144.5041 | 739.7777 | 1338.0984 | 1903.7217 | 2342.984 | 2316.1724 | 2262.3951 | 2022.2892 | 1776.06 | 1675.4221 | 1412.8506 | 1333.8633 | 1391.06 | 1247.7466 | 1208.1752 | 1192.1737 | 1170.6905 | 832.4791 | 589.0229 | 347.353 | 0 | 0
Hybrid HP in semi | 0 | 0 | 0.0071043 | 0.017358 | 0.025799 | 0.034107 | 0.048998 | 0.14391 | 0.16755 | 0.36711 | 0.33706 | 0.56865 | 0.7945 | 0.86154 | 1.1225 | 0.87221 | 0.55976 | 0.26097 | 0.066852 | 0.066852 | 0.070785 | 0.070785 | 0 | 0.0020246 | 0.0042134 | 0.0076043 | 0.051928 | 0.38924 | 0.777 | 1.1805 | 1.5058 | 1.4972 | 1.4301 | 1.376 | 1.3169 | 1.2693 | 1.2323 | 1.2066 | 1.1046 | 1.0967 | 1.0854 | 1.0198 | 1.0234 | 0.7444 | 0.47417 | 0.21263 | 0 | 0 | Hybrid HP in semi | 0 | 0 | 7.1043 | 17.3584 | 25.799 | 34.1068 | 48.9981 | 143.9104 | 167.5461 | 367.1074 | 337.0626 | 568.6517 | 794.5009 | 861.5389 | 1122.505 | 872.2054 | 559.7558 | 260.9661 | 66.8524 | 66.8524 | 70.7849 | 70.7849 | 0 | 2.0246 | 4.2134 | 7.6043 | 51.9281 | 389.2405 | 777.0039 | 1180.5193 | 1505.8002 | 1497.245 | 1430.1221 | 1376.0358 | 1316.915 | 1269.2795 | 1232.2915 | 1206.5772 | 1104.6091 | 1096.7246 | 1085.4109 | 1019.8103 | 1023.4305 | 744.3982 | 474.1712 | 212.6285 | 0 | 0
Hybrid HP in terrace | 0 | 0 | 0.011923 | 0.026745 | 0.042311 | 0.063695 | 0.089776 | 0.11205 | 0.21841 | 0.45695 | 0.4267 | 0.61415 | 0.82865 | 0.86625 | 1.1297 | 0.87895 | 0.5647 | 0.2635 | 0 | 0 | 0 | 0.0014884 | 0.0033094 | 0.0067694 | 0.084083 | 0.091202 | 0.16738 | 0.48639 | 0.79673 | 1.1696 | 1.458 | 1.4655 | 1.4029 | 1.3765 | 1.3226 | 1.279 | 1.2442 | 1.1813 | 1.0346 | 0.98143 | 0.97183 | 0.90285 | 0.95508 | 0.71817 | 0.4421 | 0.21883 | 0 | 0 | Hybrid HP in terrace | 0 | 0 | 11.9227 | 26.7452 | 42.3111 | 63.6955 | 89.7758 | 112.051 | 218.4137 | 456.9538 | 426.6967 | 614.155 | 828.6492 | 866.2513 | 1129.7484 | 878.949 | 564.7033 | 263.497 | 0 | 0 | 0 | 1.4884 | 3.3094 | 6.7694 | 84.0829 | 91.2015 | 167.3756 | 486.387 | 796.7255 | 1169.5905 | 1457.9666 | 1465.4918 | 1402.9373 | 1376.4844 | 1322.5846 | 1279.041 | 1244.1625 | 1181.2952 | 1034.5596 | 981.4317 | 971.8287 | 902.8524 | 955.0751 | 718.167 | 442.0964 | 218.8252 | 0 | 0
Lower temp ASHP in semi | 0 | 0 | 0 | 0.0066 | 0.0077864 | 0.3661 | 0.028653 | 0.045817 | 0.16571 | 0.6128 | 1.0568 | 1.4823 | 1.855 | 1.8735 | 1.9015 | 1.7238 | 1.2516 | 0.7757 | 0.28893 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.42338 | 0.92401 | 1.4054 | 1.8768 | 1.9097 | 1.9049 | 1.9434 | 2.0005 | 1.8738 | 1.5422 | 1.279 | 1.1477 | 1.3385 | 1.7145 | 1.5746 | 1.365 | 0.83991 | 0.30446 | 0.18755 | 0 | 0 | Lower temp ASHP in semi | 0 | 0 | 0 | 6.6 | 7.7864 | 366.0979 | 28.6531 | 45.8172 | 165.714 | 612.803 | 1056.786 | 1482.3003 | 1855.0149 | 1873.5273 | 1901.5466 | 1723.8431 | 1251.5519 | 775.7018 | 288.9295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 423.3807 | 924.0079 | 1405.449 | 1876.7735 | 1909.666 | 1904.9023 | 1943.4053 | 2000.5101 | 1873.8427 | 1542.1604 | 1279.0055 | 1147.741 | 1338.5185 | 1714.4887 | 1574.6122 | 1364.9945 | 839.907 | 304.46 | 187.5472 | 0 | 0
Higher temp ASHP in semi | 0 | 0 | 0.013549 | 0.027222 | 0.036935 | 0.050197 | 0.074645 | 0.22324 | 0.25587 | 0.72499 | 1.1991 | 1.6851 | 2.0863 | 2.1046 | 2.0125 | 1.4933 | 0.96952 | 0.43223 | 0 | 0.091993 | 0.103 | 0.10967 | 0.11726 | 0.028514 | 0.032628 | 0.036469 | 0.13026 | 0.67824 | 1.2353 | 1.7772 | 2.2435 | 2.2185 | 2.1792 | 2.1802 | 2.1109 | 1.9478 | 1.8534 | 1.7555 | 1.6493 | 1.6371 | 1.6281 | 1.6356 | 1.5759 | 1.2133 | 0.79671 | 0.33353 | 0 | 0 | Higher temp ASHP in semi | 0 | 0 | 13.5491 | 27.2219 | 36.935 | 50.1973 | 74.6451 | 223.2357 | 255.8701 | 724.9879 | 1199.0521 | 1685.0863 | 2086.3458 | 2104.5756 | 2012.4788 | 1493.2913 | 969.5154 | 432.2334 | 0 | 91.9926 | 103.0037 | 109.6692 | 117.2648 | 28.5138 | 32.6276 | 36.4694 | 130.2604 | 678.2394 | 1235.2638 | 1777.1888 | 2243.4535 | 2218.4586 | 2179.2249 | 2180.236 | 2110.871 | 1947.8285 | 1853.3585 | 1755.5318 | 1649.3436 | 1637.1132 | 1628.1309 | 1635.5796 | 1575.8834 | 1213.3345 | 796.7106 | 333.5283 | 0 | 0
Lower temp ASHP in new build | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.024768 | 0.38581 | 0.74587 | 1.1096 | 1.4536 | 1.4659 | 1.4783 | 1.5095 | 1.1409 | 0.76756 | 0.39512 | 0.00015653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.34715 | 0.74154 | 1.1355 | 1.5345 | 1.5739 | 1.5804 | 1.5885 | 1.5955 | 1.6163 | 1.6353 | 1.4277 | 1.2275 | 1.0329 | 0.96049 | 1.1736 | 1.3825 | 1.2733 | 0.92968 | 0.52211 | 0 | 0 | Lower temp ASHP in new build | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7683 | 385.8137 | 745.8682 | 1109.6021 | 1453.5882 | 1465.9206 | 1478.3115 | 1509.5363 | 1140.9386 | 767.5607 | 395.1153 | 0.15653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 347.1463 | 741.5422 | 1135.4612 | 1534.5263 | 1573.929 | 1580.3907 | 1588.4863 | 1595.46 | 1616.268 | 1635.2574 | 1427.6933 | 1227.4702 | 1032.8778 | 960.4854 | 1173.6115 | 1382.5106 | 1273.2814 | 929.684 | 522.1075 | 0 | 0
Diversified, 'Winter Peak' in a '1 in 20' extremely cold winter day
(kW) | [49 empty] | Load profile (W)
Heat pump - house type | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30 | 24:00 |  | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30 | 24:00
Hybrid HP in detached | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Hybrid HP in detached | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hybrid HP in semi | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Hybrid HP in semi | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hybrid HP in terrace | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Hybrid HP in terrace | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lower temp ASHP in semi | 0.21146 | 0.36403 | 0.5263 | 0.70128 | 0.90249 | 1.0835 | 1.2318 | 1.4955 | 1.6193 | 1.7353 | 1.841 | 2.5529 | 3.2108 | 3.8825 | 4.5607 | 4.5706 | 4.5745 | 4.5802 | 4.5871 | 4.5949 | 4.7564 | 4.7665 | 4.7795 | 4.796 | 4.815 | 4.8407 | 4.8589 | 4.6888 | 4.7101 | 4.5303 | 4.2777 | 4.1043 | 3.9832 | 3.6834 | 3.7742 | 3.5809 | 3.4084 | 3.2723 | 2.8074 | 3.1651 | 3.1168 | 3.1221 | 3.0167 | 1.9227 | 1.2588 | 0.59774 | 0.011402 | 0.081468 | Lower temp ASHP in semi | 211.4576 | 364.0264 | 526.3002 | 701.2845 | 902.4889 | 1083.5483 | 1231.761 | 1495.4659 | 1619.3001 | 1735.3062 | 1841.0027 | 2552.9491 | 3210.7723 | 3882.522 | 4560.7203 | 4570.6376 | 4574.5113 | 4580.2462 | 4587.1029 | 4594.9233 | 4756.4248 | 4766.4571 | 4779.4845 | 4795.9542 | 4814.9659 | 4840.6639 | 4858.9316 | 4688.7806 | 4710.0811 | 4530.3428 | 4277.736 | 4104.3294 | 3983.2045 | 3683.42 | 3774.2299 | 3580.8964 | 3408.4008 | 3272.2939 | 2807.4435 | 3165.069 | 3116.7588 | 3122.0576 | 3016.7371 | 1922.6713 | 1258.7674 | 597.7392 | 11.4023 | 81.4684
Higher temp ASHP in semi | 0.26877 | 0.45371 | 0.87914 | 0.75003 | 0.9861 | 1.2048 | 1.388 | 1.5828 | 1.8389 | 2.0414 | 2.1979 | 2.99 | 3.6685 | 4.3463 | 5.0329 | 5.0339 | 5.0342 | 5.0435 | 5.0531 | 5.0626 | 5.2409 | 5.2514 | 5.2624 | 5.2717 | 5.2795 | 5.2874 | 5.2951 | 5.3034 | 5.6535 | 5.3699 | 5.0586 | 4.9702 | 4.5336 | 4.2819 | 4.0278 | 3.5787 | 3.7126 | 3.6776 | 3.6018 | 3.4757 | 3.2142 | 3.4668 | 3.4014 | 2.6504 | 1.8028 | 0.74502 | 0.013604 | 0.10518 | Higher temp ASHP in semi | 268.7738 | 453.7106 | 879.143 | 750.0288 | 986.1045 | 1204.751 | 1387.9611 | 1582.8105 | 1838.9478 | 2041.4249 | 2197.9406 | 2989.999 | 3668.5184 | 4346.2948 | 5032.8661 | 5033.8883 | 5034.2108 | 5043.4624 | 5053.0835 | 5062.5929 | 5240.8733 | 5251.3811 | 5262.3523 | 5271.6652 | 5279.4989 | 5287.3865 | 5295.108 | 5303.3888 | 5653.5215 | 5369.9098 | 5058.5528 | 4970.1919 | 4533.5513 | 4281.9056 | 4027.7783 | 3578.679 | 3712.6252 | 3677.596 | 3601.8297 | 3475.6699 | 3214.1868 | 3466.8234 | 3401.4285 | 2650.3652 | 1802.7786 | 745.021 | 13.6036 | 105.1801
Lower temp ASHP in new build | 0.053507 | 0.11355 | 0.22741 | 0.34889 | 0.45726 | 0.57508 | 0.71229 | 0.86005 | 1.095 | 1.2625 | 1.3971 | 2.1546 | 2.8117 | 3.4793 | 4.1516 | 4.1573 | 4.1614 | 4.1663 | 4.172 | 4.1782 | 4.3238 | 4.3312 | 4.3412 | 4.3534 | 4.3678 | 4.3896 | 4.4135 | 4.278 | 4.3081 | 4.1999 | 3.9652 | 3.7914 | 3.6666 | 3.3275 | 3.4189 | 3.2494 | 3.0916 | 2.9714 | 2.5237 | 2.8485 | 2.8215 | 2.8315 | 2.7438 | 1.7421 | 1.1286 | 0.54623 | 0 | 0.010973 | Lower temp ASHP in new build | 53.5075 | 113.5471 | 227.405 | 348.8916 | 457.2595 | 575.0809 | 712.286 | 860.0548 | 1094.9532 | 1262.4733 | 1397.0767 | 2154.6235 | 2811.7353 | 3479.3344 | 4151.6314 | 4157.2909 | 4161.3639 | 4166.3443 | 4172.012 | 4178.2085 | 4323.7939 | 4331.1581 | 4341.1751 | 4353.3829 | 4367.7982 | 4389.6196 | 4413.4992 | 4278.0473 | 4308.1486 | 4199.938 | 3965.1647 | 3791.3509 | 3666.629 | 3327.4962 | 3418.908 | 3249.388 | 3091.6117 | 2971.378 | 2523.7019 | 2848.5349 | 2821.5083 | 2831.5389 | 2743.818 | 1742.1044 | 1128.6026 | 546.2278 | 0 | 10.9728